## Sheet 1
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
OUTBUILDINGS - EXTERNAL FABRIC
C20 DEMOLITION
E3 Gateway courtyard
Removing
A | roof slates, battens and felt; setting aside slates for re-use as spec H62/110 and 220 | 23 | m2 | 0 | 0
B | ridge tiles; setting aside for re-use | 3 | m | 0 | 0
C | lead flashings; setting aside for Employer as H71/585 | 13 | m | 0 | 0
D | external door; as drawing C- 371; GD14 | 1 | Nr | 0 | 0
C50 REPAIRING / RENOVATING / CONSERVING METAL
Repairing and refurbish
Cast Iron
E | rainwater pipes as specification R10/110 | 6 | m | 0 | 0
F | rainwater gutters as specification R10/110 | 10 | m | 0 | 0
C51 REPAIRING / RENOVATING / CONSERVING TIMBER
Repairing timber
Brush down and denail
G | exposed roof structure members in preparation for recovering | 23 | m2 | 0 | 0
Doors and frames as drawing C-371 including refurbishment of ironmongery (replacement if required covered by Provisional Sum) and reglazing; provide proprietary weather seals; as spec L20/272 and L40/212
H | existing frame to receive new door; removing ironmongery, piecing in to receive new; door GD14 | 1 | Nr | 0 | 0
I | single door as drawing C-371; repair code 3; door GD11 | 1 | Nr | 0 | 0
J | single door as drawing C-371; repair code 3; door GD12 | 1 | Nr | 0 | 0
K | single door and sidelight as drawing C-371; repair code 3; door GD13 | 1 | Nr | 0 | 0
F30 ACCESSORIES AND SUNDRY ITEMS FOR BRICK, BLOCK AND STONE WALLING
Joints
Raking out joint for turned in edge of flashing; pointing in lime mortar; lead wedges
L | horizontal | 4 | m | 0 | 0
M | stepped | 7 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
H62 NATURAL SLATING
Reclaimed slates; on 25mm x 50mm treated battens and 50 x 38mm counterbattens and Du Pont Tyvek Supro vapour permeable underlay; as spec H62/110 and drawing GA-216
Roof coverings; Pannier Market salvaged, B
A | pitch as existing | 21 | m2 | 0 | 0
Abutments
B | as spec H62/660 | 7 | m | 0 | 0
C | as spec H62/670 | 4 | m | 0 | 0
Eaves
D | as spec H62/365 | 10 | m | 0 | 0
Verges
E | as existing | 9 | m | 0 | 0
Ridges
F | existing salvaged clay ridge tiles as specification H62/680 | 3 | m | 0 | 0
Valleys
G | cutting both sides | 2 | m | 0 | 0
Natural slates; Independent Slate Supplies Del Castillo Dark Blue Grey; on 25mm x 50mm treated battens and 50 x 38mm counterbattens and Du Pont Tyvek Supro vapour permeable underlay; as spec H62/110 and drawings GA-216
Roof coverings
H | pitch approximately 34 degrees; C | 2 | m2 | 0 | 0
H71 LEAD SHEET COVERINGS/FLASHINGS
Milled lead to BS EN 12588; code 3 flashings, etc. patination oil; as spec H71/440
Soakers
I | to suit type B salvaged slates | 10 | Nr | 0 | 0
Milled lead to BS EN 12588; code 4 flashings, etc. patination oil; as spec H71/440
Flashings;clips
J | 163mm girth; horizontal | 4 | m | 0 | 0
K | 163mm girth; stepped | 7 | m | 0 | 0
Milled lead to BS EN 12588; code 5 flashings, etc. patination oil; geotextile underlay; as spec H71
Gutters
L | 1000mm girth | 2 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
L20 DOORS /SHUTTERS /HATCHES
Matchboarded doors; prepared for site decoration; to match existing; fitting in existing frames; as specification L20/215
Doors
A | as drawing C-371; GD14 | 1 | Nr | 0 | 0
M60 PAINTING/CLEAR FINISHING
Prepare; one coat Dulux Trade primer; two finishing coats Dulux Trade Eggshell Finish; on new wood surfaces; as specification M60/150
General surfaces
B | over 300 girth | 2 | m2 | 0 | 0
Prepare; one coat Dulux Trade primer; two finishing coats Dulux Trade Eggshell Finish; on existing wood surfaces; as specification M60/150
General surfaces
C | over 300 girth | 6 | m2 | 0 | 0
D | not exceeding 300 girth | 17 | m | 0 | 0
Glazed windows and screens
E | over 300 girth; in panes not exceeding 0.10 m2 | 1 | m2 | 0 | 0
Extra over for burning off existing painted wood surfaces; as specification M60/150
General surfaces
F | over 300 girth | 6 | m2 | 0 | 0
G | not exceeding 300 girth | 17 | m | 0 | 0
Glazed windows and screens
H | over 300 girth; in panes not exceeding 0.10 m2 | 1 | m2 | 0 | 0
M60 PAINTING/CLEAR FINISHING EXTERNALLY
Prepare; two undercoats Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on new wood surfaces; as specification M60/123
General surfaces
I | over 300 girth | 2 | m2 | 0 | 0
Prepare; spot prime and one undercoat Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on existing wood surfaces; as spec M60/123
General surfaces
J | over 300 girth | 6 | m2 | 0 | 0
K | not exceeding 300 girth | 17 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
M60 PAINTING/CLEAR FINISHING continued ...
Prepare; spot prime and one undercoat Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens continued ...
Glazed windows and screens
A | over 300 girth; in panes not exceeding 0.10 m2 | 1 | m2 | 0 | 0
Extra over for burning off existing painted wood surfaces; as spec M60/123
General surfaces
B | over 300 girth | 6 | m2 | 0 | 0
C | not exceeding 300 girth | 17 | m | 0 | 0
Glazed windows and screens
D | over 300 girth; in panes not exceeding 0.10 m2 | 1 | m2 | 0 | 0
Prepare; spot priming with Spencer Coatings Ltd Viterlac 305 Vinyl Acrylic primer; two finishing coats Viterlac 305 Vinyl Acrylic ; on existing metal surfaces; as spec M60/182
Pipes
E | over 300 girth | 1 | m2 | 0 | 0
Eaves gutters
F | over 300 girth | 5 | m2 | 0 | 0
Prepare; spot prime and one undercoat Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on existing wood surfaces; as spec M60/123
General surfaces
G | not exceeding 300 girth | 10 | m | 0 | 0
P10 SUNDRY INSULATION/PROOFING WORK/FIRE STOPS
Tyvek Airguard Control vapour barrier; as specification P10/310
Between members
H | members at existing centres | 21 | m2 | 0 | 0
Tyvek Supro breather membrane; as specification P10/320
Across members
I | members at existing centres | 21 | m2 | 0 | 0
Kingspan K107 Pitched Roof Board; 70mm thick; as drawing C-311, 312 and 318 and specification P10/150
Between members
J | members at existing centres | 21 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
P21 IRONMONGERY
Ironmongery; to match existing
Supply and fix ironmongery; to timber
A | to match existing; GD14; single leaf | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | OUTBUILDINGS - EXTERNAL FABRIC
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 1 |  |  | £ | 0
| Total from Page 2 |  |  | £ | 0
| Total from Page 3 |  |  | £ | 0
| Total from Page 4 |  |  | £ | 0
| Total from Page 5 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G29 KITCHENETTE AS DRAWING C-311
|  | Qty | Unit | Rate | £ p
G29 KITCHENETTE AS DRAWING C-311
C20 DEMOLITION
Remove
Stone and tile finishes
A | flooring | 5 | m2 | 0 | 0
Linings
B | ceilings | 6 | m2 | 0 | 0
C40 CLEANING MASONRY / CONCRETE
Stonework
Light cleaning surfaces as spec C40/105 and 110
C | walls | 6 | m2 | 0 | 0
K11 RIGID SHEET FLOORING/SHEATHING/LININGS/CASINGS
Plywood; Clear sealant; Class O fire retardant; fixing with adhesive; as spec K11:415
Lining to walls; to existing stone walls; 15mm thick
D | over 300mm wide | 15 | m2 | 0 | 0
E | extra fur water resistant coat | 1 | m2 | 0 | 0
Abutments
F | generally | 5 | m | 0 | 0
Finished external angles
G | generally | 3 | m | 0 | 0
Finished internal angles
H | generally | 7 | m | 0 | 0
Lining to ceilings; to softwood joists 15mm thick
I | over 300mm wide | 6 | m2 | 0 | 0
Abutments
J | generally | 11 | m | 0 | 0
M50 RUBBER /PLASTIC /CORK /LINO /CARPET TILING /SHEETING
Linoleum sheet; FORBO Marmoleum SOLIDS-CONCRETE; to existing base; as spec M50:150 and 420
Floors
K | over 300 wide; 2.5mm thick | 5 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G29 KITCHENETTE AS DRAWING C-311
|  | Qty | Unit | Rate | £ p
M60 PAINTING/CLEAR FINISHING
Lime wash masonry coating; Ty-Mawr/Mike Wye/Cornish Lime; prepare; three initial coats; one finishing coat; to stone surfaces; as specification M60:170
General surfaces
A | over 300 girth | 6 | m2 | 0 | 0
N10 GENERAL FIXTURES /FURNISHINGS /EQUIPMENT
Purpose made base and wall kitchen units; Manufacture and product to Contractors choice; as drawing C-311 and spec N10/145
Base units
B | 600 x 600 x 900mm; to backgrounds requiring plugging | 1 | Nr | 0 | 0
Sink units
C | 600 x 600 x 900mm; to backgrounds requiring plugging | 1 | Nr | 0 | 0
Wall units
D | 600 x 300 x 700mm; to backgrounds requiring plugging | 3 | Nr | 0 | 0
Laminated worktops; pale grey; mitred front edge; as spec N10/200
Worktops
E | 1800 x 600 x 50mm thick; as drawing C311 |  | Item | 0 | 0
F | extra for forming hole for 400 x 400mm inset sink | 1 | Nr | 0 | 0
Sinks; Teka Products Limited (UK); as Spec N10:350
Sinks; stainless steel; setting in worktop
G | Linea Undermount 400 x 400mm single square sink; Paini Cox quad monobloc mixer tap; strainer waste; 75mm white polypropylene trap | 1 | Nr | 0 | 0
Undercounter integrated fridge freezer; Electrolux or equal approved; as spec N10/500
Fridge freezer
H | built in A+ rated | 1 | Nr | 0 | 0
P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS
Plywood; as spec K11/418
Isolated shelves and worktops
I | 350 x 25mm | 4 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G29 KITCHENETTE AS DRAWING C-311
|  | Qty | Unit | Rate | £ p
P21 IRONMONGERY
Steel
Shelf brackets; fixing to backgrounds requiring plugging
A | to suit 350 wide shelves as drawing C-311 | 15 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G29 KITCHENETTE AS DRAWING C-311
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 7 |  |  | £ | 0
| Total from Page 8 |  |  | £ | 0
| Total from Page 9 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G30 SCHOOL BAG DROP AS DRAWING C-312
|  | Qty | Unit | Rate | £ p
G30 SCHOOL BAG DROP AS DRAWING C-312
C20 DEMOLITION
Remove
Sanitary fittings complete with associated services; overflows and waste pipes; making good structures
A | urinal |  | Item | 0 | 0
Stone and tile finishes
B | flooring | 2 | m2 | 0 | 0
Linings
C | ceilings | 2 | m2 | 0 | 0
C40 CLEANING MASONRY / CONCRETE
Stonework
Light cleaning surfaces as spec C40/105 and 110
D | walls | 4 | m2 | 0 | 0
K11 RIGID SHEET FLOORING/SHEATHING/LININGS/CASINGS
Plywood; Clear sealant; Class O fire retardant; fixing with adhesive; as spec K11:415
Lining to walls; to existing stone walls; 15mm thick
E | over 300mm wide | 7 | m2 | 0 | 0
Abutments
F | generally | 4 | m | 0 | 0
Finished internal angles
G | generally | 2 | m | 0 | 0
Lining to ceilings; to softwood joists 15mm thick
H | over 300mm wide | 2 | m2 | 0 | 0
Abutments
I | generally | 6 | m | 0 | 0
M50 RUBBER /PLASTIC /CORK /LINO /CARPET TILING /SHEETING
Linoleum sheet; FORBO Marmoleum SOLIDS-CONCRETE; to existing base; as spec M50:150 and 420
Floors
J | over 300 wide; 2.5mm thick | 2 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G30 SCHOOL BAG DROP AS DRAWING C-312
|  | Qty | Unit | Rate | £ p
M60 PAINTING/CLEAR FINISHING
Lime wash masonry coating; Ty-Mawr/Mike Wye/Cornish Lime; prepare; three initial coats; one finishing coat; to stone surfaces; as spec M60:170
General surfaces
A | over 300 girth | 4 | m2 | 0 | 0
N10 GENERAL FIXTURES /FURNISHINGS /EQUIPMENT
Wrot oak
Benches including bearers and intermediate supports
B | 2570 overall long x 350 x 50mm; as drawing C-312 item 2 | 1 | Nr | 0 | 0
Pegs
C | 25 diameter x 50mm long; as spec N10/154 | 6 | Nr | 0 | 0
P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS
Plywood; as spec K11/418
Isolated shelves and worktops
D | 350 x 25mm | 7 | m | 0 | 0
P21 IRONMONGERY
Steel
Shelf brackets; fixing to backgrounds requiring plugging
E | to suit 350 wide shelves as drawing C-311 | 12 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G30 SCHOOL BAG DROP AS DRAWING C-312
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 11 |  |  | £ | 0
| Total from Page 12 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G60 STORE
|  | Qty | Unit | Rate | £ p
G60 STORE
C20 DEMOLITION
Remove
Linings
A | ceilings | 4 | m2 | 0 | 0
C40 CLEANING MASONRY / CONCRETE
Stonework
Light cleaning surfaces as spec C40/105 and 110
B | stone flooring | 3 | m2 | 0 | 0
K11 RIGID SHEET FLOORING/SHEATHING/LININGS/CASINGS
Plywood; Clear sealant; Class O fire retardant; fixing with adhesive; as spec K11/415
Lining to ceilings; to softwood joists 15mm thick
C | over 300mm wide | 4 | m2 | 0 | 0
Abutments
D | generally | 8 | m | 0 | 0
M60 PAINTING/CLEAR FINISHING
Prepare and apply one primer coat and two top coats Auro.co.uk 321 matt emulsion paint; as spec M60/111
Existing painted stone walls
E | over 300 girth | 14 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G61 WC AS DRAWING C-318
|  | Qty | Unit | Rate | £ p
G61 WC AS DRAWING C-318
C20 DEMOLITION
Remove
Sanitary fittings complete with associated services; overflows and waste pipes; making good structures
A | WC suite |  | Item | 0 | 0
Stone and tile finishes
B | flooring | 2 | m2 | 0 | 0
Linings
C | ceilings | 2 | m2 | 0 | 0
C40 CLEANING MASONRY / CONCRETE
Stonework
Light cleaning surfaces as spec C40/105 and 110
D | walls | 3 | m2 | 0 | 0
K11 RIGID SHEET FLOORING/SHEATHING/LININGS/CASINGS
Plywood; Clear sealant; Class O fire retardant; fixing with adhesive; as spec K11/415
Lining to walls; to existing stone walls; 15mm thick
E | over 300mm wide | 3 | m2 | 0 | 0
Abutments
F | generally | 4 | m | 0 | 0
Finished internal angles
G | generally | 2 | m | 0 | 0
Lining to walls; 15mm thick; on and including metal wall framing to existing stone walls
H | over 300mm wide | 2 | m2 | 0 | 0
Abutments
I | generally | 4 | m | 0 | 0
Lining to ceilings; to softwood joists 15mm thick
J | over 300mm wide | 2 | m2 | 0 | 0
Abutments
K | generally | 6 | m | 0 | 0
M50 RUBBER /PLASTIC /CORK /LINO /CARPET TILING /SHEETING
Linoleum sheet; FORBO Marmoleum SOLIDS-CONCRETE; to existing base; as spec M50/150 and 420
Floors
L | over 300 wide; 2.5mm thick | 2 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G61 WC AS DRAWING C-318
|  | Qty | Unit | Rate | £ p
M60 PAINTING/CLEAR FINISHING
Lime wash masonry coating; Ty-Mawr/Mike Wye/Cornish Lime; prepare; three initial coats; one finishing coat; to stone surfaces; as specification M60/170
General surfaces
A | over 300 girth | 3 | m2 | 0 | 0
N10 GENERAL FIXTURES /FURNISHINGS /EQUIPMENT
6mm thick rectangular/triangular float glass mirror; silver backed; fixed with adhesive to and including 18mm plywood backing panel fixed secret clip fixing; as spec L40/550
Mirrors with ground edges
B | 1155 x 1140/550mm; mirror C; to backgrounds requiring plugging | 1 | Nr | 0 | 0
N13 SANITARY APPLIANCES/FITTINGS
Lavatory basins; Duravit or similar approved
Basins; pointing
C | basin; 360 x 380mm; Architec 076635..09; pillar tap; waste; trap; as spec N13/340 | 1 | Nr | 0 | 0
Water closets; Duravit
Vitreous china pan; plastic cistern; pointing all round
D | Darling New pan; seat and cover; pan connector; cistern; flushing arrangement; as spec N13/300 | 1 | Nr | 0 | 0
Miscellaneous fittings; surface mounted to backgrounds requiring plugging
Hand dryers
E | Dyson Airblade V | 1 | Nr | 0 | 0
Miscellaneous fittings; surface mounted to backgrounds requiring plugging
Soap dispenser; as spec N13/458
F | Dolphin Prestige ref BC9249; | 1 | Nr | 0 | 0
Toilet paper holder; as spec N13/462
G | Dolphin stainless steel Jumbo Roll ref BC936 | 1 | Nr | 0 | 0
Toilet brush and holder; as spec N13/460
H | Dolphin ref BC727 | 1 | Nr | 0 | 0
Sanitary towel disposal bin; as spec N13/446
I | Dolphin stainless steel ref BC980 | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G61 WC AS DRAWING C-318
|  | Qty | Unit | Rate | £ p
P20 UNFRAMED ISOLATED TRIMS/SKIRTINGS/SUNDRY ITEMS
Plywood; as spec K11/418
Vanity top
A | 100 x 25mm | 1 | m | 0 | 0
P21 IRONMONGERY
Ironmongery; fixing to surface requiring plugging
Coat hooks; as specification N13/429
B | product reference as specification | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | G61 WC AS DRAWING C-318
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 15 |  |  | £ | 0
| Total from Page 16 |  |  | £ | 0
| Total from Page 17 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GUILDHALL SQUARE
|  | Qty | Unit | Rate | £ p
SITE WORKS - GUILDHALL SQUARE
C40 CLEANING MASONRY / CONCRETE
Cleaning
Steam cleaning surfaces as spec C40/352
A | granite setts | 42 | m2 | 0 | 0
C41 REPAIRING / RENOVATING / CONSERVING MASONRY
Refacing stone with 125mm thick reclaimed Hurdwick; repointing locally; as spec C41/110, 330 and 340 (provisional quantities)
B | isolated stones; face area not exceeding 0.1m2 | 6 | Nr | 0 | 0
C | isolated stones; face area over 0.1m2 but not exceeding 0.25m2 | 3 | Nr | 0 | 0
D | stone by handrail as GA-220 |  | Item | 0 | 0
Repointing
E | rake out joints; repointing to match existing in lime mortar; in isolated areas; as specification C41/310, 810, 840 and 860 | 11 | m2 | 0 | 0
F | light well granite setts to match existing in lime mortar (provisional quantity) | 19 | m2 | 0 | 0
Cutting groove
In stonework
G | as drawings C -390 and 392 | 2 | m | 0 | 0
C50 REPAIRING / RENOVATING / CONSERVING METAL
Repairing
Gate as drawing GA:200
H | check mount on hinges and ease; remove section of lower gate to allow free movement | 1 | Nr | 0 | 0
L30 STAIRS /WALKWAYS /BALUSTRADES
Contractor Design: flood boards as spec L30/300
External grade lipped WBP plywood; 18mm thick in linked sections
I | 550mm overall; profiled lower plank; as drawing C-391 | 20 | m | 0 | 0
J | 1.00 x 1.10m overall; as drawing C-391; gates | 2 | Nr | 0 | 0
Mild steel; galvanised; fixing by welding; channel and stem; proprietary seals; as drawing C-391
K | 550mm long single channel at ends | 6 | Nr | 0 | 0
L | 550mm long intermediate double sided channel | 7 | Nr | 0 | 0
M | 1100mm long single channel at gates | 4 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GUILDHALL SQUARE
|  | Qty | Unit | Rate | £ p
L30 STAIRS /WALKWAYS continued ...
Contractor Design: flood boards as continued ...
Mild steel; galvanised channel as spec L30/305
A | as drawing C-392 | 2 | m | 0 | 0
Proprietary rubber seal
B | To boarding as drawing C-391 | 20 | m | 0 | 0
Damp proof membrane
C | To boarding as drawing C-391 | 20 | m | 0 | 0
M60 PAINTING/CLEAR FINISHING EXTERNALLY
Prepare; spot priming with Spencer Coatings Ltd Viterlac 305 Vinyl Acrylic primer; two finishing coats Viterlac 305 Vinyl Acrylic ; on new galvanised metal surfaces; as spec M60/182
General surfaces
D | over 300 girth | 4 | m2 | 0 | 0
Prepare; spot priming with Spencer Coatings Ltd Viterlac 305 Vinyl Acrylic primer; two finishing coats Viterlac 305 Vinyl Acrylic ; on existing metal surfaces; as spec M60/182
Ornamental railings fences and gates
E | over 300 girth; both sides measured | 4 | m2 | 0 | 0
Prepare; two undercoats Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on new wood surfaces; as spec M60/123
General surfaces
F | over 300 girth | 26 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GUILDHALL SQUARE
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 19 |  |  | £ | 0
| Total from Page 20 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
SITE WORKS - GATEWAY COURTYARD E1
C20 DEMOLITION
South end
Masonry walled single storey building; slate pitch roof; urinal and plumbing; dismantling, cleaning and setting aside salvaged stone as C41/300 for re-use; setting aside roof slates, wall slates finishing and granite flag paving for re-use; as drawing GA100 note 10 and spec C20
A | as drawing GA100 item 10 |  | Item | 0 | 0
C41 REPAIRING / RENOVATING / CONSERVING MASONRY
Remove and rebed coping stones in lime mortar as specification C41
B | as drawing GA:200 | 5 | m2 | 0 | 0
Extend parapet wall capping with reclaimed stone in lime mortar over door opening
C | as drawing A 456 item 6, A459 item 5 and C-330 item 8 |  | Item | 0 | 0
Repointing
D | rake out joints; re pointing to match existing in lime mortar; in isolated areas; as specification C41/310, 810, 840 and 860 | 90 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Generally
Removing
E | external door and frame; as drawing C- 371; GD07 | 1 | Nr | 0 | 0
Adapting existing opening by lowering at threshold and cast concrete extensions to jambs
F | as drawings GA-100, A-458; 459 and 460 and C-330; forming threshold to accommodate slot drain | 1 | Nr | 0 | 0
Cutting to form openings through low stone wall; cutting below ground to allow new pavings; making good reveals; setting aside salvaged stone as C41:300 for Employer
G | 975 wide; 500mm stone wall; as drawings GA-100 and A-458 | 1 | Nr | 0 | 0
H | 1515mm maximum wide; 500mm stone wall; as drawings GA-100 and A-458 | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
D20 EXCAVATING AND FILLING
Site preparation
Clearing debris
A | generally |  | Item | 0 | 0
Excavating
To reduce levels
B | 1.00m maximum depth | 14 | m3 | 0 | 0
C | 2.00m maximum depth | 11 | m3 | 0 | 0
Trenches exceeding 300 wide
D | 1.00m maximum depth | 2 | m3 | 0 | 0
Extra over excavation irrespective of depth for breaking out
E | coated macadam or asphalt paving 100mm. thick | 16 | m2 | 0 | 0
F | make good tarmac to new wall; 250mm wide | 9 | m | 0 | 0
Working space allowance to excavations
G | reduce levels basements and the like; backfilling with selected excavated material | 10 | m2 | 0 | 0
H | trenches;backfilling with selected excavated material ... | 4 | m2 | 0 | 0
Disposal
Surface water
I | on site |  | Item | 0 | 0
Excavated material
J | off site | 27 | m3 | 0 | 0
Earthwork support
To faces of excavation
K | 1.00m maximum depth; distance between opposing faces not exceeding 2 m; | 8 | m2 | 0 | 0
L | 1.00m maximum depth; distance between opposing faces not exceeding 2 m;; next to existing buildings | 1 | m2 | 0 | 0
M | 1.00m maximum depth; distance between opposing faces 2 to 4 m; | 1 | m2 | 0 | 0
N | 1.00m maximum depth; distance between opposing faces 2 to 4 m; next to existing buildings | 8 | m2 | 0 | 0
O | 1.00m maximum depth; distance between opposing faces over 4 m; next to existing buildings | 2 | m2 | 0 | 0
P | 2.00m maximum depth; distance between opposing faces not exceeding 2 m | 2 | m2 | 0 | 0
Q | 2.00m maximum depth; distance between opposing faces not exceeding 2 m; curved | 1 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
D20 EXCAVATING AND FILLING continued ...
Earthwork support continued ...
To faces of excavation continued ...
A | 2.00m maximum depth; distance between opposing faces not exceeding 2 m; next to existing buildings | 6 | m2 | 0 | 0
B | 2.00m maximum depth; distance between opposing faces over 4 m | 2 | m2 | 0 | 0
Surface treatments
Compacting ground
C | generally | 53 | m2 | 0 | 0
Compacting bottoms of excavations
D | generally | 4 | m2 | 0 | 0
Geotextile; one layer; laid on earth to receive granular material
E | Marshalls MT120 Filtration Fleece | 40 | m2 | 0 | 0
F | MG 15 Laying GeoGrid | 40 | m2 | 0 | 0
E05/E10 IN SITU CONCRETE CONSTRUCTION GENERALLY
Reinforced concrete grade PAV 2
Beds
G | not exceeding 150 thick | 1 | m3 | 0 | 0
Reinforced concrete grade C25/30
Foundations
H | 150 to 450 thick | 3 | m3 | 0 | 0
Filling hollow walls
I | not exceeding 150 thick | 1 | m3 | 0 | 0
Steps; as Hydrock drawing 1002
J | generally | 2 | m3 | 0 | 0
E20 FORMWORK FOR IN SITU CONCRETE
Plain
Sides of foundations
K | 250 to 500 high | 21 | m | 0 | 0
L | 250 to 500 high; curved | 2 | m | 0 | 0
Steps; risers and ends
M | as drawings A-458 and 459 and Hydrock 1002 | 1 | Nr | 0 | 0
E30 REINFORCEMENT FOR IN SITU CONCRETE
Fabric to BS 4483
A142
N | generally | 6 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
E30 REINFORCEMENT FOR IN SITU continued ...
Fabric to BS 4483 continued ...
A252
A | generally; strips in one width 800mm wide | 5 | m2 | 0 | 0
B | generally; curved; strips in one width 800mm wide | 1 | m2 | 0 | 0
C | generally; bent; strips in one width 840mm wide | 5 | m2 | 0 | 0
D | generally; bent; curved; strips in one width 840mm wide | 1 | m2 | 0 | 0
A393
E | generally; in steps | 8 | m2 | 0 | 0
F | generally; strips in one width 950mm wide | 12 | m2 | 0 | 0
G | generally; strips in one width 950mm wide; curved | 2 | m2 | 0 | 0
H | generally; strips in one width 1000mm wide | 7 | m2 | 0 | 0
E41 WORKED FINISHES/CUTTING TO IN SITU CONCRETE
Worked finishes
Trowelling
I | generally | 8 | m2 | 0 | 0
F10 BRICK/BLOCK WALLING
Dense concrete blocks (7.3N/mm2); in (ii)M6 mortar
Walls
J | 100mm thick | 12 | m2 | 0 | 0
K | 100mm thick; curved | 2 | m2 | 0 | 0
Bonding to existing stonework
L | 100mm blockwork | 4 | m | 0 | 0
F21 NATURAL STONE MASONRY WALLING/DRESSINGS
Existing stone arising from demolitions and new openings as specification C41/145; jointed and pointed to match existing in lime mortar as C41/310
Walls
M | 500mm thick | 5 | m2 | 0 | 0
Copings
N | 500 wide to match existing as A458 | 3 | m | 0 | 0
Bonding to existing stonework
O | 500mm stonework | 2 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
F21 NATURAL STONE MASONRY WALLING/DRESSINGS continued ...
Local granite stonework (7.3N/mm2); jointed and pointed to match existing in lime mortar as C41/310
Walls
A | 100mm thick | 1 | m2 | 0 | 0
B | 100mm thick; curved | 1 | m2 | 0 | 0
C | 150mm thick | 6 | m2 | 0 | 0
D | 150mm thick; curved | 1 | m2 | 0 | 0
Bonding to existing stonework
E | 150mm thick stonework | 2 | m | 0 | 0
F30 ACCESSORIES AND SUNDRY ITEMS FOR BRICK, BLOCK AND STONE WALLING
Forming cavities
Forming cavities in hollow walls
F | 100mm wide; wall ties as Hydrock specification 8.06 and 8.07 | 7 | m2 | 0 | 0
Cutting groove
In stonework
G | as drawings C -390 and 392 | 1 | m | 0 | 0
Sundries
Weep holes
H | as drawing A-460 item 5 | 19 | Nr | 0 | 0
J40 FLEXIBLE SHEET TANKING/DAMP PROOF MEMBRANES
Waterproof membrane, minimum 250 microns; 300mm laps
Tanking and damp proofing
I | over 300mm wide; horizontal | 6 | m2 | 0 | 0
L20 DOORS /SHUTTERS /HATCHES
Wrot softwood
Door frames
J | to suit door GD07 as drawings C-330 and 371 | 1 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
L20 DOORS /SHUTTERS /HATCHES continued ...
Contractor Design: External doors and frames as spec L10/550
DORMA UK Glass Division glass doors; ironmongery; as drawings C-370 and 390
A | double leaf frameless toughened glass doors, side and overpanels assembly complete with all rails, patch fittings and ironmongery; DDA manifestation; automated opening and accessories; GD02 | 1 | Nr | 0 | 0
Contractor Design: External doors and frames as spec L10/555
DORMA UK Glass Division glass doors; ironmongery; as drawings C-371
B | single leaf frameless toughened glass door; complete with all rails, patch fittings and ironmongery; DDA manifestation; automated opening and accessories; GD07 | 1 | Nr | 0 | 0
L30 STAIRS /WALKWAYS /BALUSTRADES
Contractor Design: flood boards as spec L30/305
Wrot hardwood battens; fixing with screws; plugging
C | 25 x 25mm | 10 | m | 0 | 0
External grade lipped WBP plywood; 18mm thick in linked sections
D | 1.10 x 2.40m overall; as drawings C-390 and 392; GD07 | 1 | Nr | 0 | 0
Mild steel galvanised channel
E | as drawing C-392 | 1 | m | 0 | 0
Contractor Design: mild steel; galvanised; powder coated dark grey/green
Isolated balustrades
F | as drawings A-458 and 460 and specification L30/555 | 4 | m | 0 | 0
G | as drawings A-458 and 460 and specification L30/555; curved | 2 | m | 0 | 0
Circular handrail
H | 42mm diameter; as drawings A-459 and 460 and specification L30/560 | 2 | m | 0 | 0
Extra over for
I | ramps | 2 | Nr | 0 | 0
Handrail brackets; hidden screwed and resin fixed to masonry
J | as spec L30/560 | 3 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
M60 PAINTING/CLEAR FINISHING
Prepare; one coat Dulux Trade primer; two finishing coats Dulux Trade Eggshell Finish; on new wood surfaces; as spec M60/150
General surfaces
A | not exceeding 300 girth | 6 | m | 0 | 0
M60 PAINTING/CLEAR FINISHING EXTERNALLY
Prepare; two undercoats Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on new wood surfaces; as spec M60/123
General surfaces
B | over 300 girth | 5 | m2 | 0 | 0
C | not exceeding 300 girth | 15 | m | 0 | 0
Q20 HARDCORE /GRANULAR /CEMENT BOUND BASES /SUB BASES TO ROADS /PAVINGS
Granular material Type 1
Filling to make up levels
D | not exceeding 250 average thick | 1 | m3 | 0 | 0
4-20mm OGCR sub base material
Filling to make up levels
E | not exceeding 250 average thick | 6 | m3 | 0 | 0
Surface treatments
Compacting filling
F | generally | 46 | m2 | 0 | 0
Geotextile; one layer; laid on granular material; as specification Q24/115
G | Terram 1000 or similar approved | 6 | m2 | 0 | 0
H | Marshalls MT120 Filtration Fleece | 40 | m2 | 0 | 0
Q24 INTERLOCKING BRICK /BLOCK ROADS /PAVINGS
Concrete paving blocks; Marshalls Conservation Priora Permeable Paving; silver grey; 600 x 400 x 65mm; half bond; bedding in 50mm laying course 2-6mm OGCR; jointing and pointing to manufacturers details; to granular base; as specification Q24/115
Pavings
I | level or to falls | 40 | m2 | 0 | 0
Extra over for
J | paving to recessed manhole covers as Q24/202 | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
Q25 SLAB BRICK BLOCK SETT COBBLE PAVINGS
Granite paving; Marshalls; mid/dark grey; flamed finish; half bond; bedding in 50mm sand as Hydrock drawing 0200; as spec Q25/200
Pavings; to granular base
A | 600 x 600 x 50mm | 6 | m2 | 0 | 0
Granite paving; Marshalls; mid/dark grey; flamed finish; half bond; bedding in 30mm laying course 2-6mm OGCR; as specification Q25/200
Pavings; to concrete base
B | 600 x 600 x 50mm | 3 | m2 | 0 | 0
C | 600 x 600 x 50mm; corduroy | 2 | m | 0 | 0
D | Extra bedding to top of blockwork 400 wide as drawing A-459 | 3 | m | 0 | 0
Coping
E | 500 x 50mm; as drawing A-458 and 460 | 3 | m | 0 | 0
F | 500 x 50mm; as drawing A-458 and 460; curved | 2 | m | 0 | 0
Extra over for
G | angles | 1 | Nr | 0 | 0
Steps; shadow gap; bronze coloured threshold strips; as drawing A-458 and specification Q25/201
H | 885 x 250 x170mm rise | 1 | Nr | 0 | 0
I | 983 x 250 x170mm rise | 1 | Nr | 0 | 0
J | 1080 x 250 x170mm rise | 1 | Nr | 0 | 0
K | 1178 x 250 x170mm rise | 1 | Nr | 0 | 0
L | 1275 x 250 x170mm rise | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E1
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 22 |  |  | £ | 0
| Total from Page 23 |  |  | £ | 0
| Total from Page 24 |  |  | £ | 0
| Total from Page 25 |  |  | £ | 0
| Total from Page 26 |  |  | £ | 0
| Total from Page 27 |  |  | £ | 0
| Total from Page 28 |  |  | £ | 0
| Total from Page 29 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - NEW CELL YARD E2
|  | Qty | Unit | Rate | £ p
SITE WORKS - NEW CELL YARD E2
C90 ALTERATIONS - SPOT ITEMS
Generally
Removing finishings
A | cobbles; setting aside for Employer | 9 | m2 | 0 | 0
Cutting to form openings through stone wall; cutting below ground to allow new pavings; making good reveals; inserting two Ancon SS50 solid wall lintels; dismantling, cleaning and setting aside salvaged stone as C41/300 for Employer
B | 850 x 2000mm; 450mm stone wall; as drawing GA-100 Hydrock drawing 1002 | 1 | Nr | 0 | 0
C | adaptation of live gas pipe to opening as GA-100 item 14 | 1 | Nr | 0 | 0
D20 EXCAVATING AND FILLING
Excavating
To reduce levels
D | 1.00m maximum depth | 3 | m3 | 0 | 0
Disposal
Surface water
E | on site |  | Item | 0 | 0
Excavated material
F | off site | 3 | m3 | 0 | 0
Earthwork support
To faces of excavation
G | 1.00m maximum depth; distance between opposing faces not exceeding 2 m | 1 | m2 | 0 | 0
H | 1.00m maximum depth; distance between opposing faces not exceeding 2 m; next to existing buildings | 5 | m2 | 0 | 0
I | 1.00m maximum depth; distance between opposing faces over 4 m | 1 | m2 | 0 | 0
Surface treatments
Compacting ground
J | generally | 9 | m2 | 0 | 0
Geotextile; one layer; laid on earth to receive granular material
K | Marshalls MT120 Filtration Fleece | 9 | m2 | 0 | 0
L | MG 15 Laying GeoGrid | 9 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - NEW CELL YARD E2
|  | Qty | Unit | Rate | £ p
Q20 HARDCORE /GRANULAR /CEMENT BOUND BASES /SUB BASES TO ROADS /PAVINGS
4-20mm OGCR sub base material
Filling to make up levels
A | not exceeding 250 average thick | 1 | m3 | 0 | 0
Surface treatments
Compacting filling
B | generally | 9 | m2 | 0 | 0
Geotextile; one layer; laid on granular material; as spec Q24/115
C | Marshalls MT120 Filtration Fleece | 9 | m2 | 0 | 0
Q24 INTERLOCKING BRICK /BLOCK ROADS /PAVINGS
Concrete paving blocks; Marshalls Conservation Priora Permeable Paving; silver grey; 600 x 400 x 65mm; half bond; bedding in 50mm laying course 2-6mm OGCR; jointing and pointing to manufacturers details; to granular base; as specification Q24/115
Pavings
D | level or to falls | 9 | m2 | 0 | 0
Extra over for
E | paving to recessed manhole covers as Q24/202 | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - NEW CELL YARD E2
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 31 |  |  | £ | 0
| Total from Page 32 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E3
|  | Qty | Unit | Rate | £ p
SITE WORKS - GATEWAY COURTYARD E3
C20 DEMOLITION
East Elevation
Boiler enclosure; remove service installations and adjacent heating pipes
A | as drawing GA-100 item 3 |  | Item | 0 | 0
C40 CLEANING MASONRY / CONCRETE
Cleaning
Pressurized water cleaning of surfaces as spec C40/342
B | concrete paving | 36 | m2 | 0 | 0
Steam cleaning surfaces as spec C40/352
C | painted walls | 52 | m2 | 0 | 0
D | steps |  | Item | 0 | 0
C41 REPAIRING / RENOVATING / CONSERVING MASONRY
Remove and rebed coping stones in lime mortar as spec C41
E | as drawing GA-200 | 5 | m2 | 0 | 0
Entrance steps
F | reset into position; regrout; as drawing GA-200 |  | Item | 0 | 0
C51 REPAIRING / RENOVATING / CONSERVING TIMBER
Repairing timber
Gates and frames including ironmongery as spec L20/272
G | single gate; rehang to opposite hand; replace ironmongery to match existing; as drawings GA-100 and C-371; repair code 3; door GD45 | 1 | Nr | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Site of demolished boiler enclosure
Preparing existing area as required, form sub base and insert Terram 1000 geotextile membrane and provide and lay laying course and concrete pavers to match existing
H | as drawing GA-200 |  | Item | 0 | 0
D20 EXCAVATING AND FILLING
Breaking up
Concrete base to boiler enclosure
I | base to boiler enclosure |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E3
|  | Qty | Unit | Rate | £ p
F30 ACCESSORIES AND SUNDRY ITEMS FOR BRICK, BLOCK AND STONE WALLING
Cutting groove
In stonework
A | as drawings C -390 and 392 | 1 | m | 0 | 0
L30 STAIRS /WALKWAYS /BALUSTRADES
Contractor Design: flood boards as spec L30/305
Wrot hardwood battens; fixing with screws; plugging
B | 25 x 25mm | 7 | m | 0 | 0
External grade lipped WBP plywood; 18mm thick in linked sections
C | 1.10 x 1.64m overall; as drawings C-390 and 392; GD45 | 1 | Nr | 0 | 0
Mild steel galvanised channel
D | as drawing C-392 | 1 | m | 0 | 0
M60 PAINTING/CLEAR FINISHING EXTERNALLY
Lime wash masonry coating; Ty-Mawr/Mike Wye/Cornish Lime or equal approved; prepare; three initial coats; one finishing coat; to stone surfaces; as spec M60/170
General surfaces
E | over 300 girth | 51 | m2 | 0 | 0
Prepare; two undercoats Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on new wood surfaces; as specification M60/123
General surfaces
F | over 300 girth | 3 | m2 | 0 | 0
G | not exceeding 300 girth | 7 | m | 0 | 0
Prepare by burning off; spot prime and one undercoat Akzo Nobel Woodcare Sikkens Rubbol Primer Plus; two brushed finishing coats Sikkens Rubbol Satura Plus; on existing wood surfaces; as specification M60/123
General surfaces
H | over 300 girth | 6 | m2 | 0 | 0
I | not exceeding 300 girth | 6 | m | 0 | 0
Extra over for burning off existing painted wood surfaces; as specification M60/123
General surfaces
J | over 300 girth | 6 | m2 | 0 | 0
K | not exceeding 300 girth | 6 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SITE WORKS - GATEWAY COURTYARD E3
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 34 |  |  | £ | 0
| Total from Page 35 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | INCOMING SERVICES
|  | Qty | Unit | Rate | £ p
INCOMING SERVICES
P30 TRENCHES/PIPEWAYS/PITS FOR BURIED PLUMBING SERVICES
Excavating trenches; grading bottoms; earthwork support; filling with granular material Type 1; disposal of surplus soil off site
For services
A | not exceeding 200 nominal size; not exceeding 1.25m average depth | 21 | m | 0 | 0
B | not exceeding 200 nominal size; not exceeding 1.25m average depth; outside the curtilage of the site | 40 | m | 0 | 0
Extra over excavation irrespective of depth for breaking out
C | concrete paving; reinstating to match existing | 6 | m | 0 | 0
D | brick block or stone paving; reinstating to match existing; outside the curtilage of the site | 22 | m | 0 | 0
E | macadam paving; reinstating to match existing; outside the curtilage of the site | 18 | m | 0 | 0
Extra over excavation irrespective of depth for excavating
F | around existing service crossing excavation | 8 | Nr | 0 | 0
G | around existing service crossing excavation; outside the curtilage of the site | 7 | Nr | 0 | 0
H | under kerb; outside the curtilage of the site | 2 | Nr | 0 | 0
P30 TRENCHES/PIPEWAYS/PITS FOR BURIED MECHANICAL SERVICES
Excavating trenches; grading bottoms; earthwork support; filling with granular material Type 1; disposal of surplus soil off site
For gas services
I | not exceeding 200 nominal size; not exceeding 750mm average depth | 14 | m | 0 | 0
J | not exceeding 200 nominal size; not exceeding 750mm average depth; outside the curtilage of the site | 12 | m | 0 | 0
Extra over excavation irrespective of depth for breaking out
K | brick block or stone paving; reinstating to match existing; outside the curtilage of the site | 12 | m | 0 | 0
Extra over excavation irrespective of depth for excavating
L | around existing service crossing excavation | 5 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | INCOMING SERVICES
|  | Qty | Unit | Rate | £ p
P30 TRENCHES/PIPEWAYS/PITS FOR BURIED MECHANICAL SERVICES continued ...
Excavating trenches; grading bottoms; earthwork support; filling with granular material Type 1; disposal of surplus soil off site continued ...
Extra over excavation irrespective of depth for excavating continued ...
A | around existing service crossing excavation; outside the curtilage of the site | 5 | Nr | 0 | 0
P31 HOLES/CHASES/COVERS/SUPPORTS FOR PLUMBING SERVICES
General builders work
Cutting or forming holes for pipes; not exceeding 55 nominal size
B | 450mm masonry wall | 2 | Nr | 0 | 0
P31 HOLES/CHASES/COVERS/SUPPORTS FOR MECHANICAL SERVICES
General builders work
Cutting or forming holes for pipes; not exceeding 55 nominal size
C | 450mm masonry wall | 1 | Nr | 0 | 0
S13 PRESSURISED WATER
MDPE pipes; mains pipework; no joints in the running length; laid in trenches
Pipes
D | 50mm nominal size | 21 | m | 0 | 0
E | 50mm nominal size; outside the curtilage of the site | 40 | m | 0 | 0
F | connection to existing; outside the curtilage of the site | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | INCOMING SERVICES
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 37 |  |  | £ | 0
| Total from Page 38 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | DRAINAGE
|  | Qty | Unit | Rate | £ p
DRAINAGE
THE FOLLOWING WORKS ARE BEYOND THE FOOTPRINT OF THE EXISTING BUILDING
C90 ALTERATIONS - SPOT ITEMS
Generally
Investigating
A | existing drains a Hydrock specification 4.02 |  | Item | 0 | 0
Removing
B | existing drain runs as Hydrock drawing 0101 | 19 | m | 0 | 0
R12 DRAINAGE BELOW GROUND
ACO Multidrain M150DS Brickslot drainage channel; Brickslot stainless steel access unit grating; as spec R10/390
Constant invert
C | as drawings A458 and 460 | 1 | m | 0 | 0
D | as drawings A458; bed and haunch in concrete PAV 2 | 4 | m | 0 | 0
E | as drawing C390 | 2 | m | 0 | 0
F | extra for multi-functional end cap | 3 | Nr | 0 | 0
G | extra for multi-functional end cap and connection to 100 pipe | 3 | Nr | 0 | 0
H | extra for connection of drain to existing drain as Hydrock drawing 0101 | 1 | Nr | 0 | 0
I | extra for connection of drain to existing manhole as Hydrock drawing 0101 | 2 | Nr | 0 | 0
R14 EXISTING WORK
Existing work
Replacing
J | existing gully |  | Item | 0 | 0
R15 MANHOLES
Alterations
Breaking into existing pipe for manhole; new rocker pipes
K | 225mm diameter | 2 | Nr | 0 | 0
Excavating
Pits 2nr
L | 2.00m maximum depth | 3 | m3 | 0 | 0
M | 4.00m maximum depth | 5 | m3 | 0 | 0
Extra over excavation irrespective of depth for breaking out
N | coated macadam or asphalt paving[ reinstating | 2 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | DRAINAGE
|  | Qty | Unit | Rate | £ p
R15 MANHOLES continued ...
Excavating continued ...
Extra over excavation irrespective of depth for breaking out continued ...
A | filling to recessed cover | 1 | Nr | 0 | 0
Working space allowance to excavations
B | pits; backfilling with 4-20mm OGCR sub base material | 23 | m2 | 0 | 0
Earthwork support
To faces of excavation
C | 2m maximum depth; distance between opposing faces not exceeding 2 m | 5 | m2 | 0 | 0
D | 2m maximum depth; distance between opposing faces not exceeding 2 m; next to existing buildings | 5 | m2 | 0 | 0
E | 4m maximum depth; distance between opposing faces not exceeding 2 m | 15 | m2 | 0 | 0
Disposal
Surface water
F | on site |  | Item | 0 | 0
Excavated material
G | off site | 8 | m3 | 0 | 0
Surface treatments
Compacting bottoms of excavations
H | generally | 3 | m2 | 0 | 0
Plain concrete grade GEN 3
Beds
I | not exceeding 150 thick; poured on or against earth or unblinded hardcore | 1 | m3 | 0 | 0
Benchings in bottoms; 20mm high strength concrete topping
J | 600 x 400 x 225mm thick | 2 | Nr | 0 | 0
Class B engineering bricks in cement mortar ( 1:3 )
Walls
K | brick thick | 14 | m2 | 0 | 0
Building in ends of pipes; arch
L | 100mm nominal size | 1 | Nr | 0 | 0
M | 225mm nominal size | 4 | Nr | 0 | 0
Brickwork sundries
Extra over for fair face; flush smooth pointing
N | manhole walls | 9 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | DRAINAGE
|  | Qty | Unit | Rate | £ p
R15 MANHOLES continued ...
Brickwork sundries continued ...
Step irons; BS 1247; malleable; galvanized; building into joints
A | general purpose pattern | 5 | Nr | 0 | 0
British Standard vitrified clay channels; bedding and jointing in cement and sand (1:2)
Half round sections
B | 225m nominal size x 600mm effective length | 2 | Nr | 0 | 0
Three quarter section branch bend
C | 100mm nominal size | 1 | Nr | 0 | 0
Ancillaries
Mission DN250 non return valve; 2 mission adaptors and bushes
D | as drawing DR-S-0101 | 1 | Nr | 0 | 0
Recessed cover complying with BS EN 124; Class D 400; bedding frame in cement and sand (1:3); cover in grease and sand
Access covers and frames
E | 600 x 400mm] clear opening | 2 | Nr | 0 | 0
INSTALLATION GENERALLY
Testing
F | As engineers requirements |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | DRAINAGE
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 40 |  |  | £ | 0
| Total from Page 41 |  |  | £ | 0
| Total from Page 42 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR10 EXTERNAL WORKS |  |  |  |  | SUMMARY
|  | Qty | Unit | Rate | £ p
Summary
| OUTBUILDINGS - EXTERNAL FABRIC Page 6 |  |  | £ | 0
| G29 KITCHENETTE AS DRAWING C-311 Page 10 |  |  | £ | 0
| G30 SCHOOL BAG DROP AS DRAWING ... Page 13 |  |  | £ | 0
| G60 STORE Page 14 |  |  | £ | 0
| G61 WC AS DRAWING C-318 Page 18 |  |  | £ | 0
| SITE WORKS - GUILDHALL SQUARE Page 21 |  |  | £ | 0
| SITE WORKS - GATEWAY COURTYARD E1 Page 30 |  |  | £ | 0
| SITE WORKS - NEW CELL YARD E2 Page 33 |  |  | £ | 0
| SITE WORKS - GATEWAY COURTYARD E3 Page 36 |  |  | £ | 0
| INCOMING SERVICES Page 39 |  |  | £ | 0
| DRAINAGE Page 43 |  |  | £ | 0
|  |  |  | Total for Bill £ | 0