## Sheet 1
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG04 VICTORIAN CELL 2
|  | Qty | Unit | Rate | £ p
LG04 VICTORIAN CELL 2
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG06 CELL LOBBY 3
|  | Qty | Unit | Rate | £ p
LG06 CELL LOBBY 3
C20 DEMOLITION
Remove
A | Single door and frame/architraves; wcs | 2 | Nr | 0 | 0
B | WC sanitary ware and all associated plumbing to two cubicles |  | Item | 0 | 0
C | Cubicle masonry partition wall approximately 100mm thick | 4 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Replacement floor
Reinforced concrete floor construction; drawing A-306 detail 6 and Hydrock drawing 1002
D | break up screeded granite flag floor and dispose off site | 4 | m2 | 0 | 0
E | excavation to reduce levels by hand maximum depth not exceeding 1.0m; disposal off site; earthwork support; (provisional quantity) | 2 | m3 | 0 | 0
F | ground preparation, concrete blinding spec J40/115 and lay gas retardant dpm spec J40/180 (contractor design) | 4 | m2 | 0 | 0
G | reinforced concrete slab 200mm thick and spec 5.00 grade RC 32/40 with air entrainment ; floated finish | 4 | m2 | 0 | 0
H | A393 reinforcement mesh | 8 | m2 | 0 | 0
I | Celotex board perimeter edge insulation 25mm thick; spec P10/290A | 8 | m | 0 | 0
J | 75mm thick rigid insulation with 500 guage polythene sheet separating layer; spec P10/290 | 4 | m2 | 0 | 0
K | Widening former door opening in masonry wall approximately 450 thick to LG05; as typical details drawing 1300 |  | Item | 0 | 0
L | Remove masonry doorway infill walling approximately 100mm thick |  | Item | 0 | 0
M | Break out the head of the proposed opening in stages for lintel installation; take the head stone to Employer's store on site for re-use |  | Item | 0 | 0
N | Insert 100mm Naylor S4 precast lintel; dry pack in position | 2 | Nr | 0 | 0
O | Insert Naylor L-Strip LG85 steel angle lintel; dry pack in position | 1 | Nr | 0 | 0
P | Insert Granite lintel 200mm high x 150mm deep x 1500mm long; dry pack in position | 1 | Nr | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG06 CELL LOBBY 3
|  | Qty | Unit | Rate | £ p
C90 ALTERATIONS - SPOT ITEMS continued ...
Replacement floor continued ...
Reinforced concrete floor construction; drawing A-306 detail 6 and Hydrock drawing 1002 continued ...
A | Remove masonry walling below lintels to extend structural opening to approximately 1200mm wide and height to match existing including setting aside jamb stone and repositioning as drawing A-457 |  | Item | 0 | 0
B | Masonry head stonework in salvaged stone recut with pistol finish; facework one side of opening |  | Item | 0 | 0
C | Reinstatement of stonework opening |  | Item | 0 | 0
D | 9mm thick plywood head lining screw fixed to lintels; section A-A |  | Item | 0 | 0
Infilling opening to LG07
E | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board corridor side with outer leading edge finished with stainless steel angle stop bead and 3mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2065 x 1250; as spec K10/210 and drawing A-307 variant without door refixed |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG06 CELL LOBBY 3
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 2 |  |  | £ | 0
| Total from Page 3 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG07 MALE TOILETS
|  | Qty | Unit | Rate | £ p
LG07 MALE TOILETS
C20 DEMOLITION
Remove
A | WC sanitary ware and all associated plumbing to two cubicles |  | Item | 0 | 0
B | Three part built-in urinal and all associated plumbing |  | Item | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
WC Division wall; Type L drawing A-300
C | Wall formed in 100 x 50mm treated softwood stud framing with 50mm thick mineral wool infill between studs and clad both sides with one layer of 12.5mm Gyproc Soundbloc MR; as spec K10 205 | 6 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG09 CELL LOBBY 1
|  | Qty | Unit | Rate | £ p
LG09 CELL LOBBY 1
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 1 | Nr | 0 | 0
B | Masonry wall doorway infill approximately 100mm thick to LG10 |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG10 FEMALE TOILETS
|  | Qty | Unit | Rate | £ p
LG10 FEMALE TOILETS
C20 DEMOLITION
Remove
A | Door and frame/architraves; wcs | 2 | Nr | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Infilling opening to LG13
B | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board corridor side with outer leading edge finished with stainless steel angle stop bead and 2mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2065 x 1250; as spec K10/210 and drawing A-307 variant without door refixed |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG11 THT WELFARE / STORE
|  | Qty | Unit | Rate | £ p
LG11 THT WELFARE / STORE
C20 DEMOLITION
Remove
A | Single door | 1 | Nr | 0 | 0
B | Floor coverings | 6 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Forming opening in ceilings
C | Cut out opening for access hatch 300 x 300mm; install Gyproc Profilex FR1 hatch; concealed operation; finished; as spec L20/638 | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG12 STAIRS / LOBBY
|  | Qty | Unit | Rate | £ p
LG12 STAIRS / LOBBY
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG13 PLANT ROOM
|  | Qty | Unit | Rate | £ p
LG13 PLANT ROOM
C20 DEMOLITION
Remove
A | Basin and fittings, rails and all associated plumbing |  | Item | 0 | 0
B | Floor coverings | 7 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Forming opening in ceilings
C | Cut out opening for access hatch 300 x 300mm; install Gyproc Profilex FR1 hatch; concealed operation; finished; as spec L20/638 | 4 | Nr | 0 | 0
D | Cut out opening for access hatch 600 x 600mm; install Gyproc Profilex FR1 hatch; concealed operation; finished; as spec L20/638 | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG14 LOBBY
|  | Qty | Unit | Rate | £ p
LG14 LOBBY
C20 DEMOLITION
Remove
A | Floor coverings | 0 | m2 | 0 | 0
B | Skirtings | 0 | m | 0 | 0
C | Remove cupboard partition approximately 100mm thick |  | Item | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Forming new opening in masonry wall approximately 300mm thick to LG14/15; Hydrock drawing 1302
D | Break out head of the proposed opening in stages for beam installation |  | Item | 0 | 0
E | Form pockets and cast concrete padstone 450 x 215 x 150mm | 2 | Nr | 0 | 0
F | Insert new steel beam 203 x 203 x 46 UC x 2300mm long; dry pack in position |  | Item | 0 | 0
G | Remove remaining masonry walling including pier |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG15 CORRIDOR
|  | Qty | Unit | Rate | £ p
LG15 CORRIDOR
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 4 | Nr | 0 | 0
B | Floor coverings | 8 | m2 | 0 | 0
C | Masonry wall partition to LG16 approximately 100mm thick | 6 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Forming ramp in solid floor between LG14 and LG16
Reinforced concrete floor construction; Hydrock drawing 1302 section 5-5, A-306 detail 6
D | break up screeded concrete floor and dispose off site | 3 | m2 | 0 | 0
E | excavation to reduce levels by hand maximum depth not exceeding 1.0m; disposal off site; earthwork support; (provisional quantity) | 1 | m3 | 0 | 0
F | reinforced concrete slab 200mm thick and spec 5.00 grade RC 28/35 ; floated finish | 3 | m2 | 0 | 0
G | ground preparation, concrete blinding spec J40/115 and lay gas retardant dpm spec J40/180 | 3 | m2 | 0 | 0
H | A393 reinforcement mesh | 6 | m2 | 0 | 0
I | Celotex board perimeter edge insulation 25mm thick; spec P10/290A | 4 | m | 0 | 0
J | 75mm thick rigid insulation with 500 guage polythene sheet separating layer; spec P10/290 | 3 | m2 | 0 | 0
Display projecting wall; Type L drawing A-300
K | Wall formed in 100 x 50mm treated softwood stud framing with 50mm thick mineral wool infill between studs and clad both sides with one layer of 12.5mm Gyproc Soundbloc MR; as spec K10 205 | 2 | m2 | 0 | 0
Forming opening in ceilings
L | Cut out opening for access hatch 300 x 300mm; install Gyproc Profilex FR1 hatch; concealed operation; finished; as spec L20/638 | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG16 TAVISTOCK
|  | Qty | Unit | Rate | £ p
LG16 TAVISTOCK
C20 DEMOLITION
Remove
A | Floor coverings | 11 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Widening opening to LG17
B | Slight adjustment for installation of steel liner; remove jamb finishes and threshold to widen by approximately 50mm |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG17 TAVISTOCK
|  | Qty | Unit | Rate | £ p
LG17 TAVISTOCK
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 1 | Nr | 0 | 0
B | Floor coverings | 10 | m2 | 0 | 0
C | Skirtings | 10 | m | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Widen door opening in masonry wall approximately 1095mm thick to LG17/19; as typical details Hydrock drawing 1300
D | Break out the head of the proposed opening in stages for lintel installation |  | Item | 0 | 0
E | Insert 100mm Naylor S4 precast lintel; dry pack in position | 10 | Nr | 0 | 0
F | Remove masonry walling below lintels for structural opening of 1295 -1400mm wide by 2100mm high with raked head and splayed jamb to one side |  | Item | 0 | 0
G | Remove section of floor and steps to the finished floor level of LG17; finish with screed and 500 gauge dpm to provide base for lift installation |  | Item | 0 | 0
H | Reinstatement of stonework opening |  | Item | 0 | 0
I | 9mm thick plywood head lining screw fixed to lintels; section A-A |  | Item | 0 | 0
Infilling door opening GD28
J | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board room side with outer leading edge finished with stainless steel angle stop bead and 2mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2010 x 835; as spec K10/210 and drawing A-307 |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG18 DARTMOOR
|  | Qty | Unit | Rate | £ p
LG18 DARTMOOR
C20 DEMOLITION
Remove to Employer's store
A | Section of wall tile sound proofing |  | Item | 0 | 0
B | Clock |  | Item | 0 | 0
Remove and set aside for-use
C | Skirtings | 4 | m | 0 | 0
Remove
D | Single door and frame/architraves | 2 | Nr | 0 | 0
E | Floor coverings | 14 | m2 | 0 | 0
F | Floor boarding | 14 | m2 | 0 | 0
G | Floor joists and strutting (provisional quantity) | 46 | m | 0 | 0
H | Masonry wall partition approximately 100mm thick | 17 | m2 | 0 | 0
I | Suspended ceiling grid/tiles | 14 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Raise door opening in masonry wall approximately 250mm thick
J | Break out head of wall, remove and set aside lintel for re-use; extend opening height |  | Item | 0 | 0
K | Reinstall salvaged lintel to new position; dry pack in position |  | Item | 0 | 0
L | Reinstate stonework opening |  | Item | 0 | 0
Flooring adjustments for levels; drawing A-472
Floor base
M | 9mm tongued and grooved plywood flooring to existing floor; K11/316 | 14 | m2 | 0 | 0
Raised flooring
N | 160 x 50mm treated softwood joists (provisional quantity) | 46 | m | 0 | 0
Floor decking
O | 25mm plywood flooring; K11/310 | 14 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG18 DARTMOOR
|  | Qty | Unit | Rate | £ p
C90 ALTERATIONS - SPOT ITEMS continued ...
Infilling door opening GD25
A | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board room side with outer leading edge finished with stainless steel angle stop bead and 2mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2010 x 835; as spec K10/210 and drawing A-307 |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG18 DARTMOOR
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 15 |  |  | £ | 0
| Total from Page 16 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG19/22 WHS ORIENTATION
|  | Qty | Unit | Rate | £ p
LG19/22 WHS ORIENTATION
C20 DEMOLITION
Remove
A | Single door and frame/architraves | 1 | Nr | 0 | 0
B | Floor coverings | 23 | m2 | 0 | 0
C | Floor boarding | 23 | m2 | 0 | 0
D | Floor joists and strutting (provisional quantity) | 56 | m | 0 | 0
E | Masonry wall partition approximately 100mm thick | 12 | m2 | 0 | 0
F | Suspended ceiling grid/tiles | 23 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Forming new door opening in masonry wall approximately 1105mm thick to LG22/G32; as typical details drawing 1300
G | Break out the head of the proposed opening in stages for lintel installation |  | Item | 0 | 0
H | Insert 100mm Naylor S4 precast lintel; dry pack in position | 11 | Nr | 0 | 0
I | Remove masonry walling below lintels for structural opening of 1435mm wide by 2200mm high |  | Item | 0 | 0
J | Lower threshold to suit ramped floor levels and finish with screed and 500 gauge dpm to provide base for metal flooring |  | Item | 0 | 0
K | Reinstatement of stonework opening |  | Item | 0 | 0
L | 9mm thick plywood head lining screw fixed to lintels; section A-A |  | Item | 0 | 0
Flooring adjustments for levels; drawing A-472
Floor base
M | 9mm tongued and grooved plywood flooring to existing floor; K11/316 | 23 | m2 | 0 | 0
Raised flooring
N | 160 x 50mm treated softwood joists (provisional quantity) | 56 | m | 0 | 0
Floor decking
O | 25mm plywood flooring; K11/310 | 23 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG19/22 WHS ORIENTATION
|  | Qty | Unit | Rate | £ p
C90 ALTERATIONS - SPOT ITEMS continued ...
Infilling door opening GD24
A | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board room side with outer leading edge finished with stainless steel angle stop bead and 2mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2010 x 835; as spec K10/210 and drawing A-307 |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG19/22 WHS ORIENTATION
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 18 |  |  | £ | 0
| Total from Page 19 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG20 1892 CELL
|  | Qty | Unit | Rate | £ p
LG20 1892 CELL
C20 DEMOLITION
Remove
A | WC fittings and associated plumbing |  | Item | 0 | 0
B | Floor coverings | 7 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | LG21 1892 CELL
|  | Qty | Unit | Rate | £ p
LG21 1892 CELL
C20 DEMOLITION
Remove
A | WC fittings and associated plumbing |  | Item | 0 | 0
B | Floor coverings | 7 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 4a LOWER GROUND - DEMOLITION / ALTERATIONS |  |  |  |  | SUMMARY
|  | Qty | Unit | Rate | £ p
Summary
| LG04 VICTORIAN CELL 2 Page 1 |  |  | £ | 0
| LG06 CELL LOBBY 3 Page 4 |  |  | £ | 0
| LG07 MALE TOILETS Page 5 |  |  | £ | 0
| LG09 CELL LOBBY 1 Page 6 |  |  | £ | 0
| LG10 FEMALE TOILETS Page 7 |  |  | £ | 0
| LG11 THT WELFARE / STORE Page 8 |  |  | £ | 0
| LG12 STAIRS / LOBBY Page 9 |  |  | £ | 0
| LG13 PLANT ROOM Page 10 |  |  | £ | 0
| LG14 LOBBY Page 11 |  |  | £ | 0
| LG15 CORRIDOR Page 12 |  |  | £ | 0
| LG16 TAVISTOCK Page 13 |  |  | £ | 0
| LG17 TAVISTOCK Page 14 |  |  | £ | 0
| LG18 DARTMOOR Page 17 |  |  | £ | 0
| LG19/22 WHS ORIENTATION Page 20 |  |  | £ | 0
| LG20 1892 CELL Page 21 |  |  | £ | 0
| LG21 1892 CELL Page 22 |  |  | £ | 0
|  |  |  | Total for Bill £ | 0