## Sheet 1
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F35 STAIR 1 TTC
|  | Qty | Unit | Rate | £ p
F35 STAIR 1 TTC
C20 DEMOLITION
Remove
A | Floor coverings | 4 | m2 | 0 | 0
B | Stair carpet including nosings |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F36 TTC OFFICE
|  | Qty | Unit | Rate | £ p
F36 TTC OFFICE
C20 DEMOLITION
Remove
A | Single door | 1 | Nr | 0 | 0
B | Floor coverings | 18 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F37 TTC DROP DOWN OFFICE
|  | Qty | Unit | Rate | £ p
F37 TTC DROP DOWN OFFICE
C20 DEMOLITION
Remove
A | Floor coverings | 13 | m2 | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Extension of stud wall partition between F35/37; Type L drawing A-300
B | Wall formed in 100 x 50mm treated softwood stud framing with 50mm thick mineral wool infill between studs and clad both sides with one layer of 12.5mm Gyproc Soundbloc MR; as spec K10 205 | 5 | m2 | 0 | 0
C | extra for connecting to existing partition; form lime mortar nib; acoustic sealant | 2 | Nr | 0 | 0
D | extra for forming door opening | 1 | Nr | 0 | 0
Infilling door opening for riser
D1 | 147 x 50mm treated softwood stud lining on compriband strip mechanically fixed to masonry surround; metal "C" stud frame infill with floor and head tracks attached to structural floor/soffit at centres to manufacturer's recommendations; one layer 12.5mm firecheck board cavity side and two layers 12.5mm firecheck board room side with outer leading edge finished with stainless steel angle stop bead and 2mm Thistle skim coat plaster K10/680; 50 thick mineral wool cavity insulation P10/250; acoustic and fire sealant K10/516A to internal perimeter; intumescent sealant to outer perimeter; overall opening 2010 x 835; as spec K10/210 and drawing A-307 |  | Item | 0 | 0
Forming opening in ceilings
E | Cut out opening for access hatch 300 x 300mm; install Gyproc Profilex FR1 hatch; concealed operation; finished; as spec L20/638 | 1 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F38 CONFERENCE ROOM
|  | Qty | Unit | Rate | £ p
F38 CONFERENCE ROOM
C20 DEMOLITION
Remove and set aside for re-use
A | Skirtings | 3 | m | 0 | 0
Remove
B | Floor coverings | 15 | m2 | 0 | 0
C | Stud wall partition to F39; removal sufficient to undertake beam work above |  | Item | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Reinstatement of stud wall partition between F38/39; Type L drawing A-300
D | Wall formed in 100 x 50mm treated softwood stud framing with 50mm thick mineral wool infill between studs and clad both sides with one layer of 12.5mm Gyproc Soundbloc MR; as spec K10 205 | 8 | m2 | 0 | 0
E | extra for connecting to existing partition; form lime mortar nib; acoustic sealant | 2 | Nr | 0 | 0
F | extra for forming door opening | 1 | Nr | 0 | 0
Forming new door opening in masonry wall approximately 500mm thick to F38/40; as typical details Hydrock drawing 1300
G | Break out the head of the proposed opening in stages for lintel installation |  | Item | 0 | 0
H | Insert 100mm Naylor S4 precast lintel; dry pack in position | 5 | Nr | 0 | 0
I | Remove masonry walling below lintels for structural opening of 990mm wide by 2100mm high |  | Item | 0 | 0
J | Lower threshold to suit floor levels and extend 18mm thick plywood floor decking and support through opening to provide base for flooring |  | Item | 0 | 0
K | Reinstatement of brickwork opening |  | Item | 0 | 0
L | 9mm thick plywood head lining screw fixed to lintels; section A-A |  | Item | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F39 TTC OFFICE
|  | Qty | Unit | Rate | £ p
F39 TTC OFFICE
C20 DEMOLITION
Remove and set aside for re-use
A | Skirtings | 3 | m | 0 | 0
Remove
B | Single door and frame | 1 | Nr | 0 | 0
C | Floor coverings | 14 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F40 SHARED LOBBY
|  | Qty | Unit | Rate | £ p
F40 SHARED LOBBY
C20 DEMOLITION
Remove
A | Floor coverings | 19 | m2 | 0 | 0
B | Skirtings | 16 | m | 0 | 0
C | Ceiling boarding | 19 | m2 | 0 | 0
D | Fireplace |  | Item | 0 | 0
E | Masonry wall partition to F42 including over door opening approximately 100mm thick | 5 | m2 | 0 | 0
F | Floor boarding | 19 | m2 | 0 | 0
G | Floor joists (provisional quantity) | 50 | m | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Adjusting floor levels as typical details Hydrock drawing 1302
H | Form pockets in masonry and cast concrete padstone 450 long x 215 deep x 150mm high | 4 | Nr | 0 | 0
I | Insert new steel beam 178 x 102 x 19 UB x 4900mm long; dry pack in position |  | Item | 0 | 0
J | Insert new steel beam 178 x 102 x 19 UB x 4500mm long; dry pack in position |  | Item | 0 | 0
Treated structural softwood; as spec G20/210
K | wall plate; 150 x 50mm; face fixed on mortar bedding; detail 1301 | 7 | m | 0 | 0
L | Hilti Hit-HY 170 V 5.8 M12 anchors; detail 1301 | 10 | Nr | 0 | 0
M | wall plate; 200 x 50mm; face fixed on mortar bedding; detail 1301 | 7 | m | 0 | 0
N | Hilti Hit-HY 170 V 5.8 M12 anchors; detail 1301 | 10 | Nr | 0 | 0
O | 175 x 50mm infill joist; bolted to steel with M12 bolts @ 900 c/cs; detail 6-6 | 9 | m | 0 | 0
P | 200 x 50mm joists @ max 400mm c/cs | 22 | m | 0 | 0
Q | joist hangar; JHA270/50 Simpson strong tie | 20 | Nr | 0 | 0
R | 200 x 50mm joists; step edge; detail 6-6 | 22 | m | 0 | 0
S | 100 x 50mm packer to required level difference; step edge; detail 6-6 | 13 | m | 0 | 0
T | 150 x 50mm joist skew nailed into packers; step edge; detail 6-6 | 13 | m | 0 | 0
U | 150 x 50mm joists @ max 400mm c/cs | 30 | m | 0 | 0
V | joist hangar; JHA270/50 Simpson strong tie | 30 | Nr | 0 | 0
W | joist bracket; EA554 shot fired to steel with Hilti system | 4 | Nr | 0 | 0
X | 150 x 50 partition support joists; doubled | 2 | m | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F40 SHARED LOBBY
|  | Qty | Unit | Rate | £ p
C90 ALTERATIONS - SPOT ITEMS continued ...
Adjusting floor levels as typical details Hydrock drawing 1302 continued ...
Treated structural softwood; as spec continued ...
A | joist hangar; SAI 380/100 Simpson; connected to face of new newel post | 2 | Nr | 0 | 0
B | 150 x 50mm noggins | 11 | m | 0 | 0
Treated structural softwood; as spec G20/211
C | 150 x 50 trimmer joists; doubled | 2 | m | 0 | 0
Forming new door opening in masonry wall approximately 800mm thick to F40/44; as typical details Hydrock drawing 1300
D | Break out the head of the proposed opening in stages for lintel installation |  | Item | 0 | 0
E | Insert 100mm Naylor S4 precast lintel; dry pack in position | 8 | Nr | 0 | 0
F | Remove masonry walling below lintels for structural opening of 990mm wide by 2200mm high |  | Item | 0 | 0
G | Lower threshold to suit ramped floor levels and extend 18mm thick plywood floor decking and support through opening to provide base for metal flooring |  | Item | 0 | 0
H | Reinstatement of stonework opening |  | Item | 0 | 0
I | 9mm thick plywood head lining screw fixed to lintels; section A-A |  | Item | 0 | 0
Forming F41 with stud wall partition between F40; Type L drawing A-300
J | Wall formed in 100 x 50mm treated softwood stud framing with 50mm thick mineral wool infill between studs and clad both sides with one layer of 12.5mm Gyproc Soundbloc MR; as spec K10 205 | 9 | m2 | 0 | 0
K | extra for connecting to existing partition; form lime mortar nib; acoustic sealant | 2 | Nr | 0 | 0
L | extra for forming door opening | 1 | Nr | 0 | 0
Blocking up fireplace
M | Block fireplace and replaster |  | Item | 0 | 0
K11 RIGID SHEET FLOORING / SHEATHING / DECKING / SARKING / LININGS / CASINGS
Plywood; as spec K11/315
Boarding to floors; tongued and grooved joints
N | 18mm thick | 17 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F40 SHARED LOBBY
|  | Qty | Unit | Rate | £ p
P10 SUNDRY INSULATION / PROOFING WORK
Mat or quilt insulation
Isover Spacesaver; laid between existing members at 400mm centres: on chicken wire; as spec P10/240
A | 100mm thick | 17 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F40 SHARED LOBBY
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 6 |  |  | £ | 0
| Total from Page 7 |  |  | £ | 0
| Total from Page 8 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F42 TTC STAIR 2
|  | Qty | Unit | Rate | £ p
F42 TTC STAIR 2
C20 DEMOLITION
Remove
A | Floor coverings | 2 | m2 | 0 | 0
B | Skirtings | 2 | m | 0 | 0
C | Ceiling boarding | 2 | m2 | 0 | 0
D | Floor boarding | 2 | m2 | 0 | 0
E | Floor joists (provisional quantity) | 8 | m | 0 | 0
F | Straight flight ladder staircase to second floor |  | Item | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Adjusting floor levels as typical details Hydrock drawing 1302 and C-320
Treated structural softwood; as spec G20/210
G | 150 x 50mm joists @ max 400mm c/cs (provisional quantity) | 8 | m | 0 | 0
H | joist hangar; JHA270/50 Simpson strong tie | 8 | Nr | 0 | 0
I | 150 x 50 trimmer joists; doubled | 2 | m | 0 | 0
Alterations to staircase; drawing C-320
J | Remove the top two treads (nrs 15 & 16) to suit proposed level |  | Item | 0 | 0
K | Adapt existing timber stringer, balustrade and balusters to suit new floor level |  | Item | 0 | 0
K11 RIGID SHEET FLOORING / SHEATHING / DECKING / SARKING / LININGS / CASINGS
Plywood; as spec K11/315
Boarding to floors; tongued and grooved joints
L | 18mm thick | 2 | m2 | 0 | 0
L30 STAIRS / LADDERS / WALKWAYS / HANDRAILS / BALUSTRADES
Softwood staircase with hardwood handrails; primed to receive painted finish; as drawing C-320 and spec L30/231
M | Stair 2 extension from first to second floor levels; complete installation with all strings, newels, treads, winders, risers, balustrades and handrailing; connections to existing and new structure; top balustrade to meet new stud wall |  | Item | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F42 TTC STAIR 2
|  | Qty | Unit | Rate | £ p
L30 STAIRS / LADDERS / WALKWAYS / HANDRAILS / BALUSTRADES continued ...
Stair strengthening; softwood; primed to receive painted finish; : Hydrock drawings 1001 and 1010
A | 100 x 100mm newel post fixed to existing stair; ground to first levels; (ground base and fixing provisional sum); first floor fixing screwed/bolted to existing |  | Item | 0 | 0
P10 SUNDRY INSULATION / PROOFING WORK
Mat or quilt insulation
B | Isover Spacesaver; laid between existing members at 400mm centres: on chicken wire; as spec P10/240 | 2 | m2 | 0 | 0
|  |  |  | To Collection £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F42 TTC STAIR 2
|  | Qty | Unit | Rate | £ p
Collection
| Total from Page 10 |  |  | £ | 0
| Total from Page 11 |  |  | £ | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F43 STAIRS & ESCAPE
|  | Qty | Unit | Rate | £ p
F43 STAIRS & ESCAPE
C20 DEMOLITION
Remove
A | Stair lino including nosings | 13 | Nr | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F44 MAGISTRATES ROOM
|  | Qty | Unit | Rate | £ p
F44 MAGISTRATES ROOM
C20 DEMOLITION
Remove and set aside for re-use
A | Skirtings | 26 | m | 0 | 0
Remove
B | Floor coverings | 43 | m2 | 0 | 0
C | Floor boarding | 43 | m2 | 0 | 0
K11 RIGID SHEET FLOORING / SHEATHING / DECKING / SARKING / LININGS / CASINGS
Plywood; as spec K11/315
Boarding to floors; tongued and grooved joints
D | 18mm thick | 43 | m2 | 0 | 0
P10 SUNDRY INSULATION / PROOFING WORK
Mat or quilt insulation
Isover Spacesaver; laid between existing members at 400mm centres: on chicken wire; as spec P10/240
E | 100mm thick | 43 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F45 COURTROOM
|  | Qty | Unit | Rate | £ p
F45 COURTROOM
C20 DEMOLITION
Remove
A | Floor coverings | 74 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | F46 FLEXIBLE MULTI FUNCTIONAL SPACE
|  | Qty | Unit | Rate | £ p
F46 FLEXIBLE MULTI FUNCTIONAL SPACE
C20 DEMOLITION
Remove
A | Sanitary ware, fittings and all associated plumbing |  | Item | 0 | 0
B | Single door with frame/architrave | 4 | Nr | 0 | 0
C | Floor coverings | 2 | m2 | 0 | 0
D | Truncated benches; note 7 drawing GA-102 |  | Item | 0 | 0
E | Modern partitioning | 66 | m2 | 0 | 0
F | Floor boarding | 39 | m2 | 0 | 0
G | Floor joists (provisional quantity) | 100 | m | 0 | 0
C90 ALTERATIONS - SPOT ITEMS
Replacement floor; as Hydrock drawing 1011 and detail 11 A-306
Dense concrete blocks (7.3N/mm2); in (ii) M6 mortar
H | sleeper walls 100mm thick x approximately 600mm high; built off existing structure | 11 | m | 0 | 0
Treated structural softwood; as spec G20/210
I | wall plate; 200 x 50mm; face fixed on mortar bedding; Hydrock detail 1301 | 11 | m | 0 | 0
J | Hilti Hit-HY 170 V 5.8 M12 anchors; detail 1301 | 16 | Nr | 0 | 0
K | wall plate; 100 x 50mm; bedded on sleeper wall | 11 | m | 0 | 0
L | extra for dpm 100mm wide; spec note 8.08 drawing 1000 | 11 | m | 0 | 0
M | 200 x 50mm joists @ max 400mm c/cs; (provisional quantity) | 121 | m | 0 | 0
N | joist hangar; JHA270/50 Simpson strong tie | 20 | Nr | 0 | 0
O | 200 x 50 trimmer joists; doubled | 7 | m | 0 | 0
P | joist hangar; JHA270/50 Simpson strong tie | 2 | Nr | 0 | 0
K11 RIGID SHEET FLOORING / SHEATHING / DECKING / SARKING / LININGS / CASINGS
Plywood; as spec K11/315
Boarding to floors; tongued and grooved joints
Q | 18mm thick | 39 | m2 | 0 | 0
|  |  |  | To Summary £ | 0
BILL NR 6A FIRST FLOOR - DEMOLITION / ALTERATIONS |  |  |  |  | SUMMARY
|  | Qty | Unit | Rate | £ p
Summary
| F35 STAIR 1 TTC Page 1 |  |  | £ | 0
| F36 TTC OFFICE Page 2 |  |  | £ | 0
| F37 TTC DROP DOWN OFFICE Page 3 |  |  | £ | 0
| F38 CONFERENCE ROOM Page 4 |  |  | £ | 0
| F39 TTC OFFICE Page 5 |  |  | £ | 0
| F40 SHARED LOBBY Page 9 |  |  | £ | 0
| F42 TTC STAIR 2 Page 12 |  |  | £ | 0
| F43 STAIRS & ESCAPE Page 13 |  |  | £ | 0
| F44 MAGISTRATES ROOM Page 14 |  |  | £ | 0
| F45 COURTROOM Page 15 |  |  | £ | 0
| F46 FLEXIBLE MULTI FUNCTIONAL SPACE Page 16 |  |  | £ | 0
|  |  |  | Total for Bill £ | 0