[image: image1.jpg]Le Page Architects




TTC Abbey: Betsy Grimbal & Still House Repair Works




Specification


B10
ACCESS SCAFFOLDING, TEMPORARY ROOFS AND SUPPORT


To be read with Preliminaries and General Conditions


GENERALLY

B10.050A
SCOPE OF THIS SECTION: This section deals with specific requirements of the contractor’s works temporary roof and side enclosure and the associated supporting structure.  This section is not intended to deal with contractors works temporary propping and support to parts of the structure

B10.052A
SUPERVISION: to ensure maintenance of satisfactory quality and progress, work is to be under the full-time control of a trained and competent working trade foreman holding a current SMTS Certificate.

B10.100A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
B10.101A
REQUIREMENTS: 


- 
An access scaffold, compliant with ‘The Work at height Regulations 2005 and BS12811-1 is to be provided.

-
Allow for the provision of an electrical, moveable mast hoist capable of lifting masonry and lead rolls form ground to roof parapets.
· The scaffold must be based on a clear span structure, no loading shall be taken off the building.
· No structural anchors or drilled ties are to be taken off the walls.
· Provide external scaffolding with working platforms as appropriate for the works to the roof structure over.
· Upper scaffold lifts are to be set at height and ctrs to allow all high level works to be undertaken. 

· Internal ladder access between each working platform only.

· Lifting rail to be provided to top platform.
· Protection of trees and roots to them in the vicinity of the building(s)
B10.104A
MODIFICATION TO ERECTED ACCESS STRUCTURES: Prior to modifying the construction of the any erected scaffold, agree with the Designer and the CA the need, extent, duration and if appropriate, the cost of any adaptation.

B10.105A
REMOVAL: Give the CA one weeks written notice of the intention to strike scaffolding.

B10.107A
BRITISH STANDARDS:  All British Standards and British Standard Codes of Practice referred to in this document are taken to be those current at the time of erection.


DESIGN
B10.201A
PROPOSALS Submit at the time of tender, a method statement detailing the intended means of providing the temporary facilities.  Indicate the method of supporting the scaffold structure, supports are not to be made through or onto existing roofs. Roofs are to be designed to clear span the building.  

B10.204A
SUBMISSION OF DRAWINGS AND CALCULATIONS: Submit in duplicate to the CA for appraisal, drawings and calculations of the proposals for the temporary works.  Modify such drawings and calculations until the CA is satisfied that works may proceed on site.   Satisfy the CA that the permanent works can safely take all loads.  Allow two weeks for the CA’s approval process.



In addition to the works contractor’s own details, the contractor is to provide a full structural design and check certificate by an independent Engineer.

B10.207A
SCAFFOLD PLATFORM LOADINGS shall be appropriate to the designation of the scaffold and proposed work operations.   



B10.208A
WIND LOADING to be in accordance with BS 5973. Return period for wind loading minimum 2 years.  Ensure the performance of any temporary localised sheeting complies with the same wind loading as supporting scaffold. Make provision to accept movement without consequential damage to the structure.  

B10.209A
SNOW LOADS to be applied as appropriate to BS 6399 Part 3:1988.

B10.211A
LOADING ON EXISTING STRUCTURES: Loading is not to be applied to the building.  

B10.212A

TAKING RESTRAINT FROM THE EXISTING STRUCTURES: Not permitted


MATERIALS

B10.300A
ALL MATERIALS USED to be adequate for the purpose, to the satisfaction of the CA and conform to the latest applicable British Standard.

B10.301A
METAL SCAFFOLDING to BS 1139 Pts.1 to 4 1982:  All scaffolding to be hot dipped galvanised.  Aluminium scaffold tubing may be permitted with the prior agreement of the CA.


ERECTION AND WORKMANSHIP 

B10.400A
ERECT and dismantle in accordance with Guidance Notes TG20:04 and SG4:10 and all relevant Safety and British Standards.  Any proposals to erect, adapt or dismantle not in accordance with the previously agreed details are to be submitted to the CA.  See also clause 105A.


Obtain all consents and pay all costs associated with the erection of scaffold and maintain all temporary lighting and signage. 

B10.401A
RESTRICTED ACCESS AND WORKING AREA: The Building is situated off the public highway and only pedestrian access is available to the perimeter of the building.  There is limited available working area for the prefabrication of scaffold frames at ground level 

B10.404A
MANHOLES AND FOUNDATIONS: Where bearing on temporary filled, soil or neighbouring grass areas, use railway sleepers or similar sized treated timbers as sole plates. Do not erect scaffold standards or sole plates over manhole or chamber covers and allow clear access to these areas. Do not bear on graves. 

B10.405A
POINTS OF CONTACT: All tubes touching or within 25mm of the face of the permanent work are to be fitted with plastic caps to prevent rust staining on the building.  

B10.407A
CUTTING OF METAL SCAFFOLD COMPONENTS: 


-
Cutting off all metal scaffold components is subject to the hot work permit scheme.


-
Where cutting metal scaffold components adjacent to the building, protect the stonework from arising filings and swarf to prevent against subsequent rust staining.

B10.409A
ADEQUATE PRECAUTIONS TO BE TAKEN to protect both workmen and public from falling debris.  Precautions to be taken to prevent personal injury where temporary works are erected in or near areas to which public have access.

B10.411A
PREVENTION OF UNAUTHORISED ACCESS: Prevent unauthorised access to all temporary works.  To both Betsy Grimbal and Still House, provide 4m high close vertical ranch boarding to entire perimeter and remove ladders at the end of each working period. Any scaffold towers are to be dismantled at the end of each working period. Ensure ranch boarding is continuous over any walls less than 4m in height, to avoid weak points in security (eg. stone walls adjoining Still House).
B10.412A
MAINTENANCE:  The contractor is to certify that the scaffold is fit for use using the Scaftag labelling system.  The contractor is to undertake inspection of the scaffold weekly and following storms.


LIGHTNING PROTECTION EARTHING OF SCAFFOLD SYSTEM
B10.501A
RESPONSIBILITY FOR THE DESIGN AND INSTALLATION:  Assume the responsibility for the design and installation of the lightning protection notwithstanding the any acceptance of design and details by the CA. 

B10.502A
DESIGN REQUIREMENTS: The complete scaffold installation is to comply with the requirements of BS 6651 Protection of Structures Against Lightning.

	Amendments to section B10

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C10

TAKING DOWN STRUCTURES


To be read with Preliminaries/General Conditions and the Schedule.


GENERAL REQUIREMENTS

C10.050A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.

EXTENT OF WORKS

C10.120A
EXTENT OF WORKS

· Removing decayed doors and shutters (Still House)
· Removal of vegetation

· Localised taking down or removal of stone masonry to enable repairs

C10.126A
STRIPPING OF EXISTING ROOF COVERINGS.

· None required
C10.127A
STRIPPING OF EXISTING ROOF LEADWORK.

-
None required
C10.128A
REMOVING OF CARCASING

· None required


TAKING DOWN WORKS

C10.310A
WORKMANSHIP GENERALLY:



-
Operatives must be appropriately skilled and experienced for the type of work and hold or be training to obtain relevant CITB Certificates of Competence.

-
Site staff responsible for supervision and control of the work, are to be experienced in the assessment of the risks involved and in the methods of demolition to be used.

-
All site staff must be briefed on the historic sensitivity of the buildings and the need to undertake works with special consideration as set out in this section.


-
Before commencing works, ensure all operatives are clear on the extent of taking down and that the protection of elements to remain has been undertaken.


-
Prior to demolition works on site provide to CA method statement for works.

C10.311A
TAKING DOWN AND REMOVAL METHODS: 


-
Take down components without causing damage to remaining structure.  Wherever possible unscrew components and withdraw nails.  Place protective blocks behind crowbars when levering against walls and linings.   

C10.317A
HOT WORKING: Hot working and burning off will only be permitted by prior approval of the CA. Submit to the CA a method statement detailing the method of hot working, procedures and precautions to be taken.
C10.318
GAS OR VAPOUR RISKS: Take adequate precautions to prevent fire or explosion caused by gas or vapour.

C10.319
HEALTH HAZARDS: Take adequate precautions to protect site operatives and the general public from health hazards associated with dangerous fumes and dust arising during the course of the Works.

C10.342A
STRUCTURES TO BE RETAINED:




-      Adequately protect parts of existing structures that are to be kept in place.

-
Cut away and strip out the minimum necessary and with care to reduce the amount of making good to a minimum.

- Prevent debris from overloading any part of the structure that is not to be taken down.

C10.380
DANGEROUS OPENINGS: Illuminate and protect as necessary.

C10.390A
ASBESTOS BASED MATERIALS: 


Report immediately to the CA any suspected asbestos based materials discovered during demolition work. Avoid disturbing such materials. Agree with the CA methods for safe removal.

C10.410
UNKNOWN HAZARDS: Inform the CA of any unrecorded voids, tanks, chemicals, etc., discovered during demolition work.  Agree with the CA methods for safe removal, filling etc.

C10.440
COMPLETION: Clear away all debris and leave the site in a tidy condition on completion.


MATERIALS ARISING
C10.510A
OWNERSHIP: Unless scheduled otherwise, components and materials arising from the demolition work are to become the property of the Contractor.  Remove from site as work proceeds.

C10.512B
STOCKPILING:  Stockpiling of materials within the site is not permitted.

C10.513A
DISPOSAL OF MATERIALS: Dispose of materials arising from the demolition work making use of approved reclamation of recycling facilities.

	Amendments to section C20

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C20
ALTERATIONS SPOT ITEMS


To be read with Preliminaries/General Conditions and the Schedule


GENERAL REQUIREMENTS

C20.050A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.

EXTENT OF WORKS

C20.120A
EXTENT OF WORKS:


-
Raking out mortar pointing to external building stonework.


-
Removal of small individual stones / areas of stonework.

C20.317A
HOT WORKING: Hot working, burning off and disk cutting will only be permitted by prior approval of the CA.  Submit to the CA a method statement detailing the method of hot working, procedures and precautions to be taken.

C20.318
GAS OR VAPOUR RISKS: Take adequate precautions to prevent fire or explosion caused by gas or vapour.

C20.319
HEALTH HAZARDS: Take adequate precautions to protect site operatives and the general public from health hazards associated with dangerous fumes and dust arising during the course of the Works.

C10.342A
STRUCTURES TO BE RETAINED:




-
Adequately protect parts of existing structures that are to be kept in place.

-
Cut away and strip out the minimum necessary and with care to reduce the amount of making good to a minimum.

-
Prevent from overloading any part of the structure that is not to be taken down.

C20.440
COMPLETION: Clear away all debris and leave the site in a tidy condition on completion.


MATERIALS ARISING
C20.510A
OWNERSHIP: Unless scheduled otherwise, components and materials arising from the demolition work are to become the property of the Contractor except where otherwise provided.  Remove from site as work proceeds.

	Amendments to section C20

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C30     STONEWORK PROTECTION



To be read with Preliminaries/General conditions.

C30.100A HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
C30.C30/110  GENERALLY: Before starting work:


-
Examine all available information.


-
Survey the structure, site and surrounding area.


-
Submit method statements to the CA covering any relevant matters raised in the design                                                                                                                                                                                             brief.


-
Ensure that all statutory notices have been given and licenses obtained.


-
Liaise as required with the CA to ensure full co-ordination of all aspects of the design.

C30.12C30/120  COMMENCEMENT CONDITION SURVEY:


-
Before starting work, survey the existing state of structure to be kept in place to locate and record the magnitude and extent of all cracks, spalling, flaking and other irregularities of the fabric.


-
Identify any areas of variance with information supplied and seek appropriate instructions.


-
Agree the commencement condition survey record with the CA.
C30.C30/140  EXTENT OF SUPPORT WORK:


-
Provide support systems as necessary.


-
Before starting work, submit detailed proposals including drawings and calculations for all systems to the CA, and resolve any amendments proposed.


-
Accept responsibility for the adequacy and stability of support systems and thereby the integrity of supported structure for the period from commencement of erection to completion of dismantling of support systems.

C30.C30/210  WORKMANSHIP:


-
Carry out work in accordance with the design brief, Health and Safety Executive Guidance Note GS51, BS 8004, section 9.7 and generally in accordance with BS 5975.


-
Operatives must be appropriately skilled and experienced for the type of work and hold or be training to obtain relevant CITB Certificates of Competence.


-
Site staff responsible for supervision and control of the work are to be experienced in the methods of erection and maintenance of support systems to be used.

C30.C30/220  ERECTING SUPPORT SYSTEMS:


-
Locate positions of existing and services which may be affected by support systems. Provide any necessary temporary diversions.


-
Prevent excessive loadings from foundations of support systems being imposed onto foundations of structure to be kept in place.


-
Erect support systems and connect to structure to be kept in place taking all necessary precautions to prevent damage, and taking due account of movement of structure which may occur before, during and after demolition.


-
Promptly repair any damage caused to adjoining property by erection or connection of support systems. Make good to ensure safety, stability, weather protection and security. 


-
Report to the CA any damage caused to retained facades by erection or connection of support systems. Agree methods of repair with the CA.


-
Check support systems at agreed stages during erection for compliance with design proposals.
C30.C30/230  UNKNOWN HAZARDS: Inform the CA of any unrecorded voids, flues, services, etc. discovered during erection of support systems. Agree with the CA methods for infill, making good, relocation of support connections, etc.

C30.C30/240  SUPPORT SYSTEMS: 


-
Sequence: Complete insertion of structural stitching ties prior to any required/scheduled re-building of stonework.

C30.C30/310  MAINTAINING SUPPORT SYSTEMS:


-
Provide safe access and safe places of work in the support systems for inspection and maintenance.


-
Regularly inspect and maintain support systems, making good ties, wedges, connections, corrosion protection, etc. as necessary.


-
Adequately protect support systems and debris netting from impact damage by vehicles, plant and site operations.


-
Prevent access of unauthorised persons onto support systems. Leave safe outside working hours.
C30.C30/320  MAINTAINING SUPPORTED STRUCTURE:


-
Regularly inspect and monitor supported structure to ensure stability. Report any significant movement or deterioration of the fabric of supported structure to the CA.


-
Agree any necessary remedial work with the CA.


-
Adequately protect supported structure from damage by site operations and from staining due to corrosion of support systems.

C30.C30/410  DISMANTLING SUPPORT SYSTEMS: When all permanent connections between supported structure and new construction have been made inform the CA and obtain any required permission to disconnect and dismantle support systems.

C30.C30/420  COMPLETION CONDITION SURVEY:


-
After disconnection of support systems, survey and record the state of structure kept in place.


-
Ensure that all defects caused by or due to support systems have been remedied.


-
Agree the completion condition survey record with the CA.


-
Ensure no temporary fixings are left in place.

C30.C30/430  MAKING GOOD: Repair any connection holes made in the structure. 

C30.C30/440  COMPLETION: Clear away all support systems and leave the site and any working areas beyond the site boundary in a tidy condition on completion.

	Amendments to section C30

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C45

REPAIR AND CONSERVATION OF ASHLAR STONEWORK


To be read with Preliminaries/ and General Conditions.



GENERAL

C45.100A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
C45.102A
SUPERVISION: this significantly sensitive element of the works is to be under the close constant control of competent trade supervisors to ensure maintenance of satisfactory 1
C45.105A
CRAFTSMAN: Cutting, dressing, laying, jointing and related works are to be undertaken by skilled masons.  

C45.107A
ARCHAEOLOGICAL ATTENDANCE: Allow access to the works by the Site Archaeologist employed directly by the client to undertake a watching brief for items of historic significance. Where the contractor finds items/areas which he considers may be of archaeological interest, he is to suspend his work in that area and advise the CA.  

CONTROL TRIALS, REPAIRS AND SAMPLES
C45.111B
CONTROL REPAIRS: Prior to commencement of the works contained in this section, undertake control repairs of each of those elements listed below at locations agreed with the CA.  Modify repairs until a result is achieved to the satisfaction of the CA.



Control repairs are to include the following elements for granite 



-   Re-pointing, the contractor is to allow for the provision of a pallet of up to six 1.0m lengths of re-pointing.

C45.112A
ANALYSIS: At 5no. locations to each building agreed with the CA carefully cut out sections of historic pointing mix.  Bag and identify for further reference and submit to a test laboratory approved by the CA for analysis.  Submit test report to the CA.  Make good areas of sampling in approved pointing mix. 

C45.113A
SAMPLES OF MATERIALS: Provide the CA with samples of the following for approval:-



-
Stone intended for piecing-in and re-facing.



-
Lime mortar repair: cured mortars indicating their intended locations and precise description of constituents and mix proportions. The contractor is to note the variety of colours and textures required.



-
Bedding/Jointing/Pointing: produce a sample display panel and reference diagram illustrating: 




a)
Samples of existing mortars noting from where they were removed; 

b)
Samples of proposed cured mortars for approval with precise descriptions of constituents and mix proportions.

Stone samples are to be sufficiently large enough to show natural variations.  Ensure delivered items match samples.  See also control trial repair requirements clause 111

CONTRACTORS DESIGN
1C45.121A
CONTRACTORS DESIGN OF FIXINGS: Assume the responsibility for the assessment of loading, design and installation of pin and dowel fixings. This responsibility is notwithstanding any acceptance of design or details by the CA.

C45.122A 
SUBMISSION OF DRAWINGS AND CALCULATIONS: Where required by the CA submit design drawings and calculations in duplicate at least two weeks prior to ordering.  Drawings are to indicate profile of sections of stone to be retained, the relative positions of fixings and penetration to supporting elements. Calculations are to indicate all assumptions made and are to be checked and certified by an independent engineer.



STONEWORK CHARACTERISTICS, SOURCING AND PROCUREMENT

C45.135B
STONE CHARACTERISTICS: Stone is to be free from cleavage vents, cracks, fissures, discoloration affecting strength, durability or appearance.  Thoroughly seasoned and sawn and machined where appropriate before delivery to site in accordance with cutting schedules, shop drawings and profiles supplied by the Contractor.




Granite:




-
To be of the appearance to match existing granite and subject to the submission of approved samples required at clause 113A.

C45.136A

BED IDENTIFICATION OF QUARRIED STONE: Clearly mark each block to indicate the natural bed, way up and position in the finished work.

C45.137A

PROFILES: Where possible from original stones or where damaged stones cannot be measured or are missing, from adjacent similar stones, take all necessary profiles and templates on durable materials, take all necessary face dimensions and produce drawings. Submit completed profiles and drawings to CA. Carefully and indelibly mark so that their identity and location are in no doubt.  Templates and drawings are to be passed to the CA upon completion of work.



SUNDRY ITEMS
C45.141A

BITUMEN SOLUTION: to BS6949, type 1 of brushing consistency.

C45.142A

REINFORCING MESH: Austenitic stainless-steel grade 316L

C45.143A

REINFORCING WIRE: Austenitic stainless steel wire grade 316L for pinning spalls and mortar repairs.

C45.144A

REINFORCING PINS: Austenitic stainless-steel grade 316L 6mm diameter, ribbed or hammered for grip for stitching large spalls or fractures.

C45.145A

REINFORCING PANELS, RODS AND PINS: Austenitic stainless-steel grade 316L of sizes to contractor design as clause 121A.

C45.146A

RESIN: to BS6319 DD88; for resin pinning.

C45.147A
BIOCIDE: Iodopropynyl Butyl Carbamate, Cementone Beaver Ltd. Tel: 01280 823823 Microtech Masonry Biocide or other approved by the CA.

TRANSPORT, HANDLING AND STORAGE

C45.151A
TRANSPORT AND HANDLING:



-
Transport stone with least handling possible.



-
Stack carefully on vehicle with adequate packing and spacers.



-
Move and handle stones for reinstatement/replacement, loading, unloading and lowering or hoisting into position by adopting such necessary methods to prevent damage to stones.

C45.152A
STORAGE:



-
Store clear of ground to prevent leaking in of ground salts and/or moisture staining.



-
Protect from frost in winter.



-
Use spacers to allow the free air flow between stones.



-
Prevent saturation from rain by the provision of adequate coverings.

WORKMANSHIP GENERALLY

C45.160A

GENERALLY:



-
Store dressed stone clear of the ground, protect from inclement weather and keep dry.  Prevent soiling, chipping and contamination by salts and other deleterious substances.



-
Dampen stones and lay on a full even bed of mortar with all joints filled and approximately 5mm wide.  Use lead, slate or stainless-steel distance pieces to ensure consistent joint width.



-
Keep courses level and in line, and accurately plumb all wall faces, angles and features.  Set out carefully to ensure satisfactory junctions and joints with adjoining or built-in elements and components.



-
Keep stonework clean during construction. Ensure that no mortar encroaches on face when laying.  Turn back scaffolding boards at night and during heavy rain.  Rubbing to remove marks or stains will not be permitted.

C45.160A

EXTENT OF WORKS: 



-
Area as shown on coloured stonework repair schedules J26.014 AB.01-02, AB.10-11 inclusively 



It must be noted that where indicative sizes and dimensions are given in schedules, they are for guidance only. Schedules must not be used as a cutting list.  

C45.161A
All masonry repairs to be undertaken in strict accordance with details indicated in



English Heritage Practical Building Conservation: Stone (Ashford Press 2012).



Copies available for viewing on request  

C45.162A

CONFIRMATION OF SCHEDULED WORK: Before commencing work shown on the




schedules, allow to review the condition of elements of each elevation with the CA 




and agree final proposals before undertaking each drawing sheet wall section 
C45.163A

PHOTOGRAPHY: Where photographic recording is required by this section inspect the



work with the CA and agree the nature and extent of photography.  In addition to the requirements at clause 171A, allow to provide digital photographs of all final work elements per elevation Photographs are to cross referred to the As-built schedules.  

C45.164A
TOOLS: use tungsten tipped chisels and diamond dipped blades to provide clean cuts.  Ensure all tools are kept sharp.

C45.165A
INCLEMENT WEATHER:




-
Do not use frozen materials and do not lay on frozen surfaces.




-
Undertake work only when the temperature is 5oC and rising and close and protect work before sunset.



-
Protect new work from rain and snow by covering when precipitation occurs and at all times when the work is not proceeding.




-
Protect new work from rapid drying out during hot weather, by covering and continual damping down.




-
Maintain temperature of the work above freezing until mortar has fully hardened.



-
Rake out and replace mortar damaged by frost or rapid drying out and where instructed, rebuild damaged work.

C45.166A

PROTECTION:




-
Prevent damage to stonework, particularly arrises and projecting features.  Protect with wooden slats, boards etc., securely fixed.  Remove at Practical Completion.

· Prevent staining and other disfigurement of stonework during works.

· Where scaffold canopies are not present, turn back scaffolding boards at night and during heavy rain to prevent splashing and staining.

· Where the roof or other structure is exposed due taking down and rebuilding or replacement ensure temporary protective coverings are provided see section B10.

C45.167A
TEMPORARY SUPPORT AND ARRANGEMENT OF WORKS:



-
Where a number of adjacent stones are scheduled for replacement, undertake the works ensuring that the stability of the structure over is maintained. Provide all necessary temporary supports.



-
Provide method statements detailing the temporary support of jambs and heads of windows where jambs and sills are replaced.



-
Where the replacement of complete or major sections of cornice stones is scheduled, carefully remove sufficient parapet stones to allow the works to be undertaken.  Protect parapet stones removed and reinstall upon replacement of defective cornice stones.

C45.168A
REMOVAL OF DEBRIS: Clear away debris as the work proceeds to skips and keep the work face and scaffold free of arisings.  Ensure skips are removed as soon as they are filled and replacement skips provided.  Do not stockpile debris in open heaps.  

RAKING OUT AND REPOINTING
C45.252A
CUTTING/RAKING OUT DEFECTIVE JOINTS:

-
Use manual tools only, power tools are not permitted.

-
Cut and rake out all defective mortar to a sound clean square backed face to a depth of at least 38mm or twice the joint height whichever is greater.  Use a proprietary saw blade on fine joints.

-
Where joints at this depth are found to be soft either deep tamp/pack or hand grout to fill sufficient for pointing to be undertaken.

-
Prevent damage to surrounding stonework and in particular their arrises.


-
Abate and lay dust by lightly spraying with water.



-
Working from the top down thoroughly clean raked joints with a wooden implement/stiff bristle brush and flush out with clean water.  Avoid unnecessary saturation.

C45.253A
FILLING JOINTS: Joints exceeding 4mm wide.

-
Hydraulic lime mortar mix as section Z21.



-
Joints are to be thoroughly washed out and wetted, to reduce suction.



-
Mortar is to be applied with a pointing iron in single layers, pressing the mortar hard ensuring a complete fill of the joint.



-
Hydraulic lime will begin its initial set after 2-4 hours and one this has taken place the mortar must not be worked any further. Excess mortar must not be re-used/knocked up again and must be discarded. Any further coats of pointing should be applied within 1-2 days after the previous coat whilst the lower coat is drying out. This period will vary according to the season and climatic conditions. The pointing must be kept clean. Prevent from rapid drying out by spraying with water and the provision of temporary protection.

C45.254A
FILLING JOINTS: Joints not exceeding 4mm wide.  



-
Hydraulic lime mortar mix as section Z21. Mortar for fine joints should be finely screened and passed under the edge of a trowel on a glass sheet or marble slab.



-
Apply heavy-duty adhesive tape over the centre line of the cut-out joint, press firmly onto the stone surface.  Using a sharp knife slit the tape and remove a strip the same width as the joint.  Press edges of tape to seal against stone surface.



-
Joints are to be thoroughly washed out with clean water using a syringe and wetted to reduce suction.



-
Using a filling knife or other appropriate small tool press the mortar firmly ensuring a complete fill of the joint.  Further packing of the mortar is to be carried out after removal of the tape.




-
Hydraulic lime will begin its initial set after 2-4 hours and one this has taken place the mortar must not be worked any further.  Excess mortar must not be re-used/knocked up again and must be discarded.  Any further coats of pointing should be applied within 1-2 days after the previous coat whilst the lower coat is drying out.  This period will vary according to the season and climatic conditions.  The pointing must be kept clean.  Prevent from rapid drying out by spraying with water and the provision of temporary protection.

C45.255A

JOINT TREATMENT AND FINISH: 




-
The joint finish is to match the area of agreed trial pointing, typically it will be finished with a flat, rough surface flushed up to meet the surface of the adjoining stonework.  After the initial set has taken place, having been taken back by the edge of a trowel, finish by stippling with a stiff bristle brush to reveal the aggregate




-
Mortar joints are to follow the contours of the stones forming the context around them.

C45.256A

PROTECTION AND AFTERCARE



-
Provide all necessary protection to pointing areas and surrounding stonework.



-
Protect new work from frost, rain and snow by covering when precipitation occurs and at all times when the work is not proceeding. It will be necessary to maintain protection in place for approximately 7-10 days.



-
Protect new work from rapid drying out during hot weather, by covering and continual damping down. It will be necessary to maintain protection in place for approximately 7-10 days.



-
Maintain temperature of the work above freezing until mortar has fully hardened.



-
Rake out and replace mortar damaged by frost or rapid drying out and where instructed, rebuild damaged work.



FINAL CLEANING

C45.261A
FINAL CLEANING DOWN: After completion of all repairs and immediately prior to striking the scaffold, thoroughly clean down all surfaces by brushing and water jetting to remove all dust and debris.  


AS-BUILT SCHEDULES

C45.361A
AS-BUILT SCHEDULES:  Upon completion, the contractor is to provide the CA with 2No good quality copies of all colour schedules, corrected in colour using the agreed convention, to show the works undertaken.  As-built schedules are to show the thickness of replacement/refaced stone and where appropriate fixing methods.  Schedules are to be clearly marked ‘AS BUILT’.

	Amendments to section C45

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C46

REPAIR AND CONSERVATION OF RANDOM STONEWORK


To be read with Preliminaries/ and General Conditions.



GENERAL

C46.100A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
C46.102A
SUPERVISION: this significantly sensitive element of the works is to be under the close constant control of competent trade supervisors to ensure maintenance of satisfactory quality and progress.  

C65.105A
CRAFTSMAN: Cutting, dressing, laying, jointing and related works are to be undertaken by skilled masons.  

C46.107A
ARCHAEOLOGICAL ATTENDANCE: Allow access to the works by the Site Archaeologist employed directly by the client to undertake a watching brief for items of historic significance. Where the contractor finds items/areas which he considers may be of archaeological interest, he is to suspend his work in that area and advise the CA.  

CONTROL TRIALS, REPAIRS AND SAMPLES

C46.111B
CONTROL REPAIRS: Prior to commencement of the works contained in this section, undertake control repairs of each of those elements listed below at locations agreed with the CA.  Modify repairs until a result is achieved to the satisfaction of the CA.



Control repairs are to include the following elements for:


-
Mortar repair

-
Piecing-in



-
Re-facing stone



-
Pinning surface spalls




-   Re-pointing, the contractor is to allow for the provision of a pallet of up to six 1.0m lengths of re-pointing.

C46.112A
ANALYSIS: See section C45.

C46.113A
SAMPLES OF STONEWORK: Provide the CA with samples of the following for approval:-



-
Hurdwick/Random Forest of Dean stone for rebuilding etc.  



Stone samples are to be sufficiently large enough to show natural variations.  Ensure delivered items match samples.  See also control trial repair requirements clause 111A.



-
See also section C45.
C46.114A
SAMPLES OF MATERIALS: Provide the CA with samples of the following for approval:-



-
Stone intended for piecing-in and re-facing.



-
Lime mortar repair: cured mortars indicating their intended locations and precise description of constituents and mix proportions. The contractor is to note the variety of colours and textures required.



-
Bedding/Jointing/Pointing: produce a sample display panel and reference diagram illustrating: 




a)
Samples of existing mortars noting from where they were removed; 

b)
Samples of proposed cured mortars for approval with precise descriptions of constituents and mix proportions.

CONTRACTORS DESIGN
C46.121A
CONTRACTORS DESIGN OF FIXINGS: Assume the responsibility for the assessment of loading, design and installation of pin and dowel fixings.  This responsibility is notwithstanding any acceptance of design or details by the CA.



STONEWORK CHARACTERISTICS, SOURCING AND PROCUREMENT

C46.135A
STONE CHARACTERISTICS: Stone is to be free from cleavage vents, cracks, fissures, discoloration affecting strength, durability or appearance.  Thoroughly seasoned and sawn and machined where appropriate before delivery to site in accordance with cutting schedules, shop drawings and profiles supplied by the Contractor.



-
Three or four differing characteristics are evident on original Hurdwick walling and a wide variety of colours, new elements are to match accordingly.  Select bedding planes appropriate to the final position in the finished work and type of component and advise the supplier accordingly.  There have been many problems historically which can now be observed due to the incorrect selection of bedding of the stone. Where possible correction of bedding planes is to take precedence over colour/stone characteristic matching.

C46.136A
BED IDENTIFICATION OF QUARRIED STONE: Clearly mark each block to indicate the natural bed, way up and position in the finished work.



SUNDRY ITEMS
C46.141A
BITUMEN SOLUTION: to BS6949, type 1 of brushing consistency.

C46.142A
REINFORCING MESH: Austenitic stainless-steel grade 316L

C46.143A
REINFORCING WIRE: Austenitic stainless steel wire grade 316L for pinning spalls and mortar repairs.

C46.144A
REINFORCING PINS: Austenitic stainless-steel grade 316L 6mm diameter, ribbed or hammered for grip for stitching large spalls or fractures.

C46.145A
REINFORCING PANELS, RODS AND PINS: Austenitic stainless-steel grade 316L of sizes to contractor design as clause 121A.

C46.146A
RESIN: to BS6319 DD88; for resin pinning.

C46.147A
BIOCIDE: Iodopropynyl Butyl Carbamate, Cementone Beaver Ltd. Tel: 01280 823823 Microtech Masonry Biocide or other approved by the CA.

TRANSPORT, HANDLING AND STORAGE

C46.151A
TRANSPORT AND HANDLING:



-
Transport stone with least handling possible.



-
Stack carefully on vehicle with adequate packing and spacers.



-
Move and handle stones for reinstatement/replacement, loading, unloading and lowering or hoisting into position by adopting such necessary methods to prevent damage to stones.

C46.152A
STORAGE:



-
Store clear of ground to prevent leaking in of ground salts and/or moisture staining.



-
Protect from frost in winter.



-
Use spacers to allow the free air flow between stones.



-
Prevent saturation from rain by the provision of adequate coverings.

WORKMANSHIP GENERALLY

C46.160A
GENERALLY:



-
Store stone clear of the ground, protect from inclement weather and keep dry.  Prevent soiling, chipping and contamination by salts and other deleterious substances.



-
Dampen stones and lay on a full even bed of mortar with all joints filled and approximately 5mm wide.  Use lead, slate or stainless-steel distance pieces to ensure consistent joint width.



-
Keep courses level and in line, and accurately plumb all wall faces, angles and features.  Set out carefully to ensure satisfactory junctions and joints with adjoining or built-in elements and components.



-
Keep stonework clean during construction.  Ensure that no mortar encroaches on face when laying.  Turn back scaffolding boards at night and during heavy rain.  Rubbing to remove marks or stains will not be permitted.

C46.161A
EXTENT OF WORKS:



-   Taking down and re-building internal stonework to facilitate refurbishment works 



-   It must be noted that where indicative sizes and dimensions are given in schedules they are for guidance only.  Schedules must not be used as a cutting list.  Dimensions of scheduled stones are shown using the convention:- length x thickness x height.

C46.162A
CONFIRMATION OF SCHEDULED WORK: Before commencing work shown on the



Schedules and detailed drawings, allow to review the condition of elements of each elevation with the CA.

C46.163A
PHOTOGRAPHY: Where photographic recording is required by this section inspect the



work with the CA and agree the nature and extent of photography.  See also section C45.

C46.164A
TOOLS: use tungsten tipped chisels and diamond dipped blades to provide clean cuts.  Ensure all tools are kept sharp.

C46.165A
INCLEMENT WEATHER:




-
Do not use frozen materials and do not lay on frozen surfaces.




-
Undertake work only when the temperature is 5oC and rising and close and protect work before sunset.



-
Protect new work from rain and snow by covering when precipitation occurs and at all times when the work is not proceeding.




-
Protect new work from rapid drying out during hot weather, by covering and continual damping down.




-
Maintain temperature of the work above freezing until mortar has fully hardened.



-
Rake out and replace mortar damaged by frost or rapid drying out and where instructed, rebuild damaged work.

C46.166A
PROTECTION:



-
Prevent damage to stonework, particularly arrises and projecting features.  Protect with wooden slats, boards etc., securely fixed.  Remove at Practical Completion.

· Prevent staining and other disfigurement of stonework during works.

· Where scaffold canopies are not present, turn back scaffolding boards at night and during heavy rain to prevent splashing and staining.

· Where the roof or other structure is exposed due taking down and rebuilding or replacement ensure temporary protective coverings are provided see section B10.

C46.167A
TEMPORARY SUPPORT AND ARRANGEMENT OF WORKS: Where a number of adjacent stones are scheduled for replacement, undertake the works ensuring that the stability of the structure over is maintained.  Provide all necessary temporary supports.

C46.168A
REMOVAL OF DEBRIS: Clear away debris as the work proceeds to skips and keep the work face and scaffold free of arisings.  Ensure skips are removed as soon as they are filled and replacement skips provided.  Do not stockpile debris in open heaps.
C46.169B

All masonry repairs to be undertaken in strict accordance with details indicated in



English Heritage Practical Building Conservation: Stone (Ashford Press 2012).



Copies available for viewing on request  

C46.170B

CONFIRMATION OF SCHEDULED WORK: Before commencing work shown on the




schedules, allow to review the condition of elements of each elevation with the CA 




and agree final proposals before undertaking each drawing sheet wall section 


TAKING DOWN AND REBUILDING SECTIONS OF MASONRY AND REBUILDING

C46.171A

RECORDING:




-
Inspect the work with the CA to confirm the nature and extent of operation.




-
Photographically record all stones to be removed and their relationship to surrounding work.  Label the stone and record references on the schedules using a system agreed with the CA.




-
Note the stone sizes, bond, joint size, style and texture of pointing or any special or unusual features including tooling for replication.

C46.172A
RELEASING STONES - SETTING ASIDE



-
Release stones by cutting out joint material, cutting through anchors, fixings and the like and easing/levering stones form their backings, adopting such methods necessary to prevent damage to stones being removed and surrounding work.




-
Abate dust by light spraying of water.



-
Number individual stones on their underside as they are released or other location concealed in the final construction.  Cross reference the numbering to photographs and repair schedules.




-
Wash off stones with clean water and scrub off dirt.



-
Carefully set stones aside on the working platform or lower to ground and store as agreed with the CA.



-
Store as clause 152A.
C456.173A
ASSOCIATED REPAIRS:



-
Undertake repairs to individual stones as scheduled or detailed.





Carefully remove cast iron components and undertake treatment and repairs 

C4.174A
REMAINING WORKS:



-
Prevent saturation of the open wall and exposed structure by provision of adequate temporary coverings.

C46.175A
RELAYING STONES IN THEIR ORIGINAL LOCATION:



-
Treat open core void with biocide, clause 147.



-
Provide the mason with copies of all numbered schedules and photographs for accurate resetting of stones in their original location.



-
Clean and flush out with clean water to remove loose material and dust and reduce suction.



-
Provide and insert stainless-steel ties and dowels to replace originals.



-
Dampen stones to be reset.



-
Provide slate or lead spacers to gauge original joint widths and tamp stones into place on a full and even bed of mortar.



-
Pack remaining joint with mortar using a rammer and pointing key



-
Rake joints to a depth of 38mm as work proceeds for mortar pointing.

C46.176A
POINTING: Undertake pointing as clause 253A-256A inclusive.

CUTTING OUT DEFECTIVE STONEWORK FOR REPLACEMENT, REFACING,


PIECING-IN AND MORTAR REPAIR

C46.181A
RECORDING:



-
Inspect the work with the CA to confirm the nature and extent of operation.



-
Photographically record stonework to be cut out.

C46.182A

CUTTING OUT COMPLETE STONES:



-
Undertake cutting out with extreme care to prevent damage to adjacent stones.



-
Carefully cut out perimeter joints using a plugging chisel or in the case of fine joints a proprietary fine saw blade.  Do not use power tools for cutting out joints.



-
Carefully cut out stone starting from centre and working outwards adopting such methods necessary to prevent damage to adjacent surrounding stonework.


-
Do not use aggressive percussion drilling techniques where this is likely to cause opening-up of adjacent fractured stones.

C46.183A

CUTTING OUT FOR REFACING:



-
Undertake cutting out with extreme care to prevent damage to adjacent stones.


-
Carefully cut out perimeter joints using a plugging chisel or in the case of fine joints a proprietary fine saw blade. Do not use power tools for cutting out joints.


-
Carefully cut out stone starting from centre and working outwards adopting such methods necessary to prevent damage to adjacent surrounding stonework.


-
Do not use aggressive percussion drilling techniques where this is likely to cause opening-up of adjacent fractured stones.



-
Cut out to depth as scheduled and square up remaining face.


-
Form undercut to stonework over intended re-facing as scheduled and agreed with CA.


-
Carefully drill small exploratory pilot holes through remaining stone and establish thickness of remaining stone.  Where less than 75mm remains consult CA before proceeding.

C46.184A

CUTTING OUT FOR PIECING-IN/MORTAR REPAIR:



-
Undertake cutting out with extreme care to prevent damage to adjacent stones.



-
The use of power tools is permitted providing they are used with extreme care to prevent damage to adjacent stone.  Aggressive drilling using percussion techniques must not be used; see also clause 162A.



-
Carefully cut out defective stone to the minimum size providing an undercut profile for mortar repairs.  Do not square up the face of small holes for mortar repair.


REMOVAL OF EMBEDDED METAL



C46.185A

RECORDING: Photographically record the metal component before removal.

C46.186A

REMOVAL OF EMBEDDED METAL:



-
Undertake cutting out with extreme care to prevent damage to adjacent stones.


-
The use of power tools is permitted providing they are used with extreme care to prevent damage to adjacent stone.  Aggressive drilling using percussion techniques must not be used; see also clause 162A.


-
Carefully remove embedded metal and hard cement bedding/pointing by stitch/chain drilling around the object.  Take extreme care where object is to be retained for treatment and refixing not to damage the component.


-
Keep cutting out to the minimum size.  Square up large holes to provide rectangular edges of undercut profile for mortar repairs.  Leave small holes irregular in elevation.  Where corrosion of embedded metalwork has caused iron staining on stonework below the item inform the CA and await his instruction on the method of stain removal.



REPLACEMENT OF WHOLE STONES, PIECING-IN AND REFACING OF STONE

C46.191A

BEDDING: Do not bed stones in resin. 

C46.192A

PROCEDURE:

-
Select a matching stone as close as possible to the original colour, grain, shell and other characteristics.  The pieces must be geologically compatible with the host stones and placed in the correct bed.  The bed of the existing stone may not necessarily be correct.

-
Prepare stone to required size, offer up to the wall and scribe around.  Cut out as clauses 182A, 183A or 184A.

-
Where refacing stone, drill the back of the stone for fixing pins/dowels to contractor’s design clause 121A,



form suitable templates and record position of holes.  Wash out holes to remove all slurry and debris.

-
Fill drill holes with epoxy resin to a level so that excess resin does not exude out of the hole.  Lay the template over the stone and insert the pin/dowel; leave the template in position to hold the pins true.  Use resin with care.  Do not get resin on the face of the stone.

-
When the resin is dry, coat the ends of the pin/dowel to enable corresponding marks to be made on the host stone.  Drill out the holes to required depth.

-
Offer up the piecing-in/facing and check alignment.

-
Undertake final trimming and sharpening of the arrises.

-
Thoroughly soak the piece in clean water, wet up the joint and surrounding faces, temporarily plug pin/dowel holes to prevent wetting.

-
Slurry coat the socket and meeting faces with hydraulic lime.  Do not bed stones in resin.

-
Fully fill drill holes with resin and offer the stone into position.  Remove any excess slurry.

-
After adequate drying period, deep mortar pack and point around refaced stone.  Apply mortar repair around pieced-in stone as specified in this section.

-
Tool faces of stone to match that of the host or adjacent stones and original details as undertaken on the recently completed Brewhouse contract. 



REMOVAL OF MORTAR/RENDER/PLASTER

C46.202A

REMOVAL:


-
Carefully remove hard cement mortar, render and plaster coatings and formed pads on faces of stonework using hand tools.


-
Lightly dress the face of the stone to remove all traces of coating and tool to match surrounding stone.


-
Where coating has penetrated hollows and voids, inform the CA and where instructed carefully cut out hard material.


-
Depending upon the extent of cutting-out mortar repair/piece-in as instructed by the CA.

MORTAR REPAIR OF STONE

C46.211A
LIMIT OF REPAIR: Mortar repairs are to be limited to small areas only particularly on Hurdwick masonry.  Where final prepared holes exceed those noted on schedules, inform the CA prior to proceeding with the repair.

C46.212A

CUTTING OUT: cut out and prepare as clause 184A.

C46.213A

PREPARATION: flush cavity with water and sterilise with formalin.

C46.214A

PINS: for cavities over 50mm deep and over 0.01m2 in surface area


-
Drill and fix 3mm dia ribbed stainless steel wire pins spaced at 50mm maximum centres.




-
Flush out holes with 50/50 water/alcohol solution



-
Set pins into holes in epoxy resin so that a minimum 20mm cover is provided.

C46.215A 
MORTAR REPAIR:



-
Wash out and wet the hole. Fill with matching stone fragments bedded in pointing mix and bring to line 15mm below surface of finished stone.


-
Build to line in two coats of mortar repair mix and leave proud of surface, take care not to coat the face of stones. Ensure base coat is fully dry before applying the second coat, key first layer.

-
When green hard, cut back and texture surface using a wooden stick or felt covered



cloth. Do not use steel floats or absorbent pads.

-
Adjust colour to suit surrounding stone by toning up or down with coal ash or charcoal



fines.

-
Cover with damp hessian and allow to cure, keeping damped down as necessary.

PINNING OF SURFACE SPALLS AND CRACKS IN MASONRY
C46.222A
FIXING DESIGN: See clause 121A.

C46.223A
PINNING OF STONE FACE:

-
Agree location of pinning positions with the CA.

-
Carefully drill pilot hole and gradually enlarge to required diameter, hole should run across the fracture at a downward angle of approximately 10o to the horizontal.

-
Flush out hole with a 50/50 water/alcohol solution using a syringe.  Ensure that all debris and dust is removed.  Allow to dry thoroughly.

-
Temporarily seal all joints that are likely to leak resin with clay and fill the hole full with epoxy resin using a syringe ensuring that excess resin does not exude from the hole.  In deep holes use a straw to ensure that no air is trapped.



-
Carefully insert stainless steel threaded dowel ensuring that resin does not overflow from hole.

-
Once the resin has set point the holes with repair mortar mix and patinate if required as specified in this section.

-
Grout/shelter coat grout as scheduled and specified in this section.

-
Fill remaining open surface joint/crack with mortar repair.


FINAL CLEANING

C46.302A
FINAL CLEANING DOWN: After completion of all repairs and immediately prior to striking the scaffold, thoroughly clean down all surfaces by brushing and water jetting to remove all dust and debris.  

	Amendments to section C46

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C51

REPAIR/RENOVATING TIMBER


To be read with Preliminaries/ and General Conditions.



GENERAL


TYPES OF TIMBER

C51.100A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
C51.202A
TIMBER FROM SUSTAINABLE SOURCES: Timber and timber-based products are to be from sustainable and renewable sources.  Prior to procurement, the contractor is to submit to the CA a statement detailing the means of certifying compliance with an internationally recognised scheme.



Acceptable forms of accreditation include:



-
Suppliers registered with the Timber Trade Federation ‘Environmental Purchasing Policy scheme’.   




-
Timbers produced and harvested in accordance with principles of good forest management and evaluated, accredited and monitored under the Forest Stewardship Council scheme and displaying the Forest Stewardship Council (FSC) mark.




-
Purchased timbers are to be “legal timber” as defined in current edition of UK Government Timber procurement policy.

C51.205A
STRESS GRADING OF TIMBER:

· To be carried out by companies currently registered under a third-party quality assurance scheme operated by any of the certification bodies approved by the UK Timber Grading Committee.

· Timber of a basic thickness less than 100mm and not specified for wet exposure to be stress graded at an average moisture content not exceeding 20% with no reading being in excess of 24% and clearly marked as ‘DRY’ or ‘KD’ (kiln dried).

· Timber graded undried (green) and specified for wet exposure conditions to be clearly marked as ‘WET’ or ‘GRN’.

· Structural timber members cut from large graded sections to be regarded to approval and marked accordingly.

C51.212 
TIMBER SPECIES
· Species: European/English Seasoned Oak.
Salvaged timber will be considered subject to approval of samples by the CA.  

· Timbers from the same source must be used in complete room/areas.

· Finish: sawn.

· Moisture content at time of erection: Maximum 18%

· Samples: see clause 201

· Procurement: As soon as the CA has given approval to samples obtain timbers for the entire project. 


WORKMANSHIP GENERALLY

C51.401A   BASIC WORKMANSHIP: Comply with the clauses of BS8000: Part 5 which are relevant to

                 this section.

C51.403A
ACCURACY: Not withstanding BS8000: Part 5, clause 3.2.1, comply with Preliminaries clause A33/340 and any required critical dimensions given in the Specification or on the drawings.

C51.404A
LIMITS OF DEFECTS AND SELECTION:  In the process of assembly and construction select the graded timber so that no defect permitted by such grading prejudices the strength of the completed structure at bearings, joints and other assemblies.  In particular, no wane, knotholes or fissures are permitted which would prejudice such assemblies and no wane is permitted which would prejudice such fixings.


Generally, the whole of the timber shall be well cut, bright, sound and square‑edged, thoroughly seasoned and free from warp, sap, rot, shakes, loose or dead knots, wavy edges, worm or beetle or other imperfections to such an extent or so situated in the piece as to render it insufficient in strength or stiffness for the work to be executed.


Timber which in the judgment of the CA does not conform to these requirements or is inferior in quality and condition or is not suitable for the requirements of the work shall be replaced at the Contractor's expense.


The timber may be kiln or air seasoned but shall be free from seasoning defects such as case hardening, brittleness etc when delivered to site.

C51.405A    CROSS-SECTION DIMENSIONS OF TIMBER: 


Shown on drawings are basic sizes unless stated otherwise. Maximum permitted deviations from basic sizes to be as stated in BS4471 for softwoods and BS5450 for hardwoods.

-
Timbers are to be of finished sizes to match host timbers where scarf repaired or adjacent members where components are completely replaced.

C51.406A    REDUCTION TO FINISHED SIZES of planed/regularized timber to be to BS4471 for 



       softwoods and BS5450 for hardwoods.

C51.407A
SELECTION AND USE OF TIMBER:

· Do not use timber members that are damaged, crushed or split beyond the limits permitted by their grading.

· Ensure that notches and holes are not so positioned in relation to knots or other defects that the strength of members will be reduced.
· Do not use scarf joints, finger joints or splice plates without approval.

C51.408A
PROCESSING TREATED TIMBER:



-      Carry out as much cutting and machining as possible before treatment.



-
Retreat all treated timber that is sawn along the length, ploughed, thicknessed, planed or otherwise extensively processed.



-
Treat timber surfaces exposed by minor cutting and drilling with two flood coats of a solution recommended for the purpose by main treatment solution manufacturer.

C51.408A
TREATED TIMBER: Treat surfaces exposed by minor cutting and drilled with two flood coats of a solution recommended for the purpose by main treatment solution manufacturer.
C51.409A
MOISTURE CONTENT of timber at time of erection to be not more than 18%.

C51.410A
PROTECTION:


-
Keep timber dry and do not over-stress, distort or disfigure sections or components during transit, storage, lifting, erection or fixing.


-
Store timber and components undercover, clear of the ground and with good ventilation. Support on regularly spaced, level bearers on a dry, firm base. Open pile to ensure free movement of air through the stack.


-
Arrange sequence of construction and cover timber as necessary during and after erection to ensure that specified moisture content is not exceeded.


-
Keep trussed rafters vertical during handling and storage.

C51.411A
EXPOSED TIMBER: Prevent damage to and marking of surfaces and arrises of planed structural timber which will be exposed to view in completed work.


JOINTING TIMBER

C51.601A
JOINTING/FIXING GENERALLY: Where not specified otherwise, select fixing and jointing methods and types, sizes and spacings of fastenings in compliance with relevant British Standards.

C51.602A
BOLTED JOINTS:



-
Locate holes accurately and drill to diameters as close as practical to the nominal bolt diameter and not more than 2mm larger.



-
Place washers under all bolt heads and nuts that bear directly on timber. Use spring washers in locations that will be hidden or inaccessible in the completed building.



-
Tighten bolts so that washers just bite the surface of the timber and at least one complete thread protrudes from the nut.



-
Check at agreed regular intervals up to Practical Completion and tighten as necessary to prevent slackening of joints.

ERECTION, INSTALLATION AND JOINTING

C51.702A
SAMPLE/CONTROL JOINTS:  Allow for the first joint of each type to act as a sample for approval by the CA. Modify the work and replace components until the joint meets the satisfaction of the CA.  Maintain access to the sample for control of subsequent joints.

C51.704A
JOINTING AND REPAIR OF EXISTING TIMBERS:

· Carefully remove existing boarding, rafter, purlins, supports or other components to the minimum amount necessary to undertake the repair.  Provide all temporary propping and support, see clause 301.

· Where timbers sit on stone bearings or in formed pockets inspect these with the CA and agree any consolidation or pointing of the stonework before commencing the repair.

· Where roof joists are replaced form halved joints over purlins.

· Joint timbers by a method agreed with the CA.

· Carefully cut out existing timbers the minimum amount necessary.  Where timbers are deteriorated beyond the point of scheduled repair advise the CA and await his instructions.

· Select timbers for the repair with characteristics to match the host timber and of sufficient cross section to account for any deformation of the original member.  Do not use timbers with shakes, splits, large knots or other defects.
· Cut all joints square to line and plane, dismantling and adjusting the meeting surfaces by paring away as necessary so that closely butted joints are formed.  Do not use fillers in joints.

· Ensure that new timbers are cut and trimmed to old including any deformation of the existing member, see clause 201.  

· Ensure that bolted connections through scarf repaired timbers run perpendicular to and centrally through the face of the component.  Cut housings, slots and mortises so that plates are recessed and nuts/bolt projections sit flush with the timber surface.

· Where detailed or specified cut folding wedges from the same timber used for the repair.  Leave final driving and cutting off projecting sections of folding wedges until the loading of the component has been re-applied and until the last possible time before any access scaffold is struck.

· Insert lead dpc’s and provide ventilation gaps or cloaks as detailed, see section H71.

· Clear dust and debris from all areas.

· Do not allow glues or resins come in contact with the surface of timbers. 
	Amendments to section C51

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


C53 
      REMOVAL OF VEGETATION AND TREATMENT


     To be read with Preliminaries/ General Conditions.



     GENERAL
C53.050A
HISTORIC SENSITIVITY OF THE BUILDING: Betsy Grimbal is Grade I listed, and the Still House is Grade II listed. Additionally, both are sited on the grounds of a Scheduled Ancient Monument (Tavistock Abbey). The site is at all times to be treated with care such a listing affords.
C53.104A
USE OF CHEMICALS: The use of chemicals specified in this section is to be kept to the absolute minimum.

C53.105A
EXTENTS Mayors parlour/office north and south east roof slopes


     

SAFETY, PROTECTION, CLEANLINESS AND DISPOSAL

C53.121A
SAFETY:





-
Chemicals must be approved under The Control of Pesticides Regulations 1986 and have a Health and Safety Executive (HSE) approved number.




-
Handle, store and dispose of chemicals in accordance with the Pesticides safety precautions scheme, the Health and Safety Executive's recommendations and particular manufacturer’s instructions.




-
Wear protective overalls gloves, safety goggles and protective respiratory mask at all times when mixing, handling and applying chemicals.




-
Do not spray in the vicinity of unprotected people and animals.




-
Do not spray in windy conditions where drift would carry the spray beyond the intended areas.




-
Do not spray near water courses.

C53.122A
INCLEMENT WEATHER:



-
Undertake any cleaning work only when the temperature is 5oC and rising and close and protect work before sunset.

C53.123A
PROTECTION:


-
Provide all necessary protection to areas to be treated and surrounding works.



-
Protect areas below and adjoining the works by covering with polythene sheet.




-
Do not allow chemical paste to come into contact with masonry surfaces.

C53.124A
PREPARATIONS: only prepare sufficient quantities of solutions and pastes for use in the same day at one time.

C53.125A
CLEANLINESS AND DISPOSAL: Remove all treated vegetation, debris, protection and hazardous materials and their containers regularly for disposal off site in a safe and competent manner to a licensed disposal centre.




MATERIALS

C53.131A
SAFETY: chemicals used must be under The Control of Pesticides Regulations 1986 and have a Health and Safety Executive (HSE) approved number.

C53.133A
BIOCIDE: Iodopropynyl Butyl Carbamate, Cementone Beaver Ltd .Tel: 01280 823823, Microtech Masonry Biocide or other approved by the PM.

C53.134A
PASTE: Zinc Octade Paste, Cementone Beaver Ltd. Tel: 01280 823823, Wykamol Green Range timber treatment paste or other approved by the Architect.



TREATMENT OF IVY, CREEPERS AND WOODY PLANTS 

C53.141A
METHOD OF TREATMENT AND REMOVAL:

-
Cut out and remove a length of the main stem approximately 300mm above ground level or 150mm away from the point of rooting into the stonework.

-
Brush apply biocide at clause 133A diluted with water to manufacturers recommendations and leave to die.

-
Leave for ten days.

-
Cut a frill girdle around the parent stem and coat all the exposed surfaces with a paste at clause 134A.  Wrap the cut stem and treated area securely with a plastic covering. Take extreme care not to allow the paste to contact masonry surfaces.

-
Allow a period of approximately ten days before cutting and removing the plant carefully in sections from the masonry surface and all joints.

-
Roots in the wall must be cut-out, all woody pieces removed. and joints deep mortar tamped and pointed as specified in section C46.

-
To areas agreed with the CA, as section C46, carefully remove stones sufficient to allow the removal of embedded roots and woody growth and deep mortar pack voids and reinstate stones.

      TREATMENT OF ALGAL SLIMES, LICHENS, MOSSES AND SMALL HERBACEOUS                    


       PLANTS

C53.151A
METHOD OF TREATMENT AND REMOVAL



INITIAL TREATMENT:

-
Remove as much growth as possible in the form of plants and thick cushions of moss, using knife blades, spatulas and stiff bristle or non-ferrous soft wire brushes.

-
Prepare a solution of biocide at clause 133A diluted with water to manufacturers recommendations.

-
Apply the biocide solution using a masonry paint brush or , start at the top of the vertical surface to be treated and move across horizontally and slowly, to allow approximately 100mm run down.  The following pass should be made across the previous run-down,

-
Leave the treated area for at least one week.  Brush off as much dead growth as possible with bristle brushes.

-
Prepare a second solution of biocide at clause 133A and apply as noted above for the initial treatment.

-
Allow the surface to absorb and carry out a second application as growth inhibitor.

	Amendments to section C53

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


Z21
       MORTARS



To be read with Preliminaries and General Conditions

Z21.111A
REFERENCE SECTION: this section specifies mortar common to a number of work sections.

CONSTITUENT MATERIALS

Z21.112A
SAND FOR MORTAR: to BS1200 or as agreed with the CA following analysis and control trials for low clay/silt content:



Supplier: Cornish Lime Company, Old Callywith Road, Bodmin. Cornwall. PL31 2DZ

Z21.114A
HYDRAULIC LIME: St Astier NHL 3.5 or equivalent approved by the CA.



Supplier: Cornish Lime Company, Old Callywith Road, Bodmin. Cornwall. PL31 2DZ

Z21.115A
WATER: to be clean and uncontaminated.  Where required by the CA, submit samples for testing to an approved test house.

SITE MIXED MORTAR
Z21.121A
MIX MORTAR: on site to the agreed proportions and to the workmanship requirements of this section.

Z21.122A
LIME BASED PRODUCTS: Mix all lime-based mortars at ground level to reduce the danger of burns in the event of spillage.

MORTAR MIXES
Z21.131A
MIXES FOR STONEWORK: (indicative only for tendering purposes).




Hardwick Stone Pointing Mix:




1 part Hydraulic lime (NHL 2.0)



2 1/2parts Well graded course CLS 47 sand (1-2mm to 0.075mm up to 10mm joint; 3-


5mm to 
0.075mm up to 20mm joint;)




Granite Pointing Mix:




1 part Hydraulic lime (NHL3.5)



3 parts CLS 47 sharp sand (1-2mm to 0.075mm up to 10mm joint; 3-



5mm to 
0.075mm up to 20mm joint;)




1/6th part Coal dust


Note: All final mixes to be agreed with the CA after analysis of existing and site sample pallets have been pre agreed as clauses C45:113a and C46.114a
Z21.140A
SHELF LIFE: Ensure that hydraulic lime is stored in sealed containers, marked with the date of manufacture.  Use within 4 weeks of manufacture.

Z21.350A
SITE STORAGE OF MATERIALS:



Store different sands and aggregates clearly labelled tubs protected from frost.

Z21.360A
MAKING MORTAR:



-
Mix/decant all lime-based mortars at ground level to reduce the danger of burns in the event of spillage.



-
Use operatives who are skilled and experienced in making and use of lime-based mortars.  Provide evidence of their experience.



-
Keep plant and banker boards clean at all times.  Avoid contamination by other materials.




-
Measure materials accurately by volume using clean gauge boxes or clean undamaged buckets.




-
Do not mix mortar when the air temperature is at low or below 5oC and falling or below 3oC and rising.




-
Hydraulic lime should be mixed for approximately 8 minutes in a drum mixer, emptied into a large tub/bath and whisked with a proprietary drill attachment for 2-3 minutes.  Mix with aggregate and minimal water to create a workable mix.  Samples of the aggregate are to be checked by the hydraulic lime supplier for suitability prior to commencement of the work.  Inform the CA of the results.  Mechanical batch mixers may be used only after submission of a method statement.  In preference, edge running mortar mills such as Rolpunit or similar may be used.  Mortar is to be turned out into clean boards and pounded after mixing.  The mortar mill must not run for longer than specified.




Hydraulic lime will not set at temperature of below 5oC and the water temperature must also be taken into account.  If the temperature falls below 2oC hydraulic action will cease.  If this is a possibility protective measures should be proved as specified at sections C45 and C46.

Z21.400A
SAMPLE AREAS:


Undertake min 6 samples 600mm² ( to each building) at pointing using indicative pointing trial mix given in Z21.131A. Adjust to approval of CA allowing further 4 x 300mm² samples to ensure correct mix.

	Amendments to section Z21

	Reference
	Clause
	Description
	Date
	By

	
	
	
	
	

	
	
	
	
	


1
1
J26.014/LPA//Tender Issue/ April 2026 REV B

